## Others
OTHER ITEMS
Sl. No. | Description | Unit | S S Rates for 2004-05
1 | 2 | 3 | 4
1 | SUPPLY AND DELIVERY OF PIG LEAD 99.99 % PURE INCLUDING COST AND CONVEYANCE ETC., COMPLETE. | Per Kg | 48.7
2 | SUPPLY AND DELIVERY OF SPUN YARN OF BEST QUALITY INCLUDING COST AND CONVEYANCE ETC., COMPLETE. | Per Kg | 37.5
3 | SUPPLY AND DELIVERY OF RUBBER PACKING INCLUDING COST AND CONVEYANCE ETC., COMPLETE.
| a) 3 mm thick | Per Kg | 32
| b) 6 mm thick | Per Kg | 35.5
4 | SUPPLY AND DELIVERY OF BOLTS AND NUTS WITH DOUBLE WASHERS INCLUDING COST AND CONVEYANCE ETC., COMPLETE. (1/2" TO 1") | Per Kg | 34.5

## 23-PVC
S S RATES FOR PVC PIPES FOR THE YEAR 2004-05
Code No. | Description | TEST PRESSURE
|  | 2.5 Kgs/cm2 | 4.0 Kgs/cm2 | 6 Kgs/cm2 | 10 Kgs/cm2
1 | 2 | 3 | 4 | 5 | 6
Manufacture, Supply and delivery of Unplasticised PVCs Pipes for potable water supplies conforming to IS : 4985/2000 (third revision) with bell ends (Socket) as per specification in light Grey/Natural Ivory Grey/ Any other Color (except White) inclusive of transportation to the sub-divisional stores anywhere in AP excluding Excise duty and Sales Tax etc.
DIA IN MM Rate/Metre
| 20 | -- | -- | -- | 6.28
| 25 | -- | -- | -- | 9.81
| 32 | -- | -- | -- | 15.66
| 40 | -- | -- | 15.48 | 24.02
| 50 | -- | -- | 22.8 | 37.29
| 63 | -- | 24.5 | 34.91 | 53.92
| 75 | -- | 35.1 | 48.69 | 77
| 90 | 32.35 | 49.43 | 69.77 | 109.15
| 110 | 48.75 | 71.5 | 101.28 | 163.87
| 125 | 62.86 | 93.25 | 127.24 | 214.75
| 140 | 77 | 116.2 | 165.93 | 264.11
| 160 | 102.45 | 153.55 | 215.82 | 348.9
| 180 | 128.52 | 195.8 | 279.39 | 447.96
| 200 | 165.12 | 238.3 | 337.91 | 542.59
| 225 | 213.13 | 313.72 | 453.06 | 721.52
| 250 | 257 | 339.6 | 559.95 | 880.41
| 280 | 331.27 | 478.94 | 706.08 | 1116.61
| 315 | 416.94 | 608.13 | 885.24 | 1407.87
Note: | The IPCL resin cost adopted for the above rates are Rs.49,000/- per MT (including CED)
The veriation in cost of PVC pipes due to increase / decrease in raw material cost shall be allowed subject to the following price variation formula.
The price variation formula to be adopted is as follows:
P2 = P1 + (A2 - A1) /1000 x M x 0.95 (for increase in raw material cost)
P2 = P1 - (A1 - A2) /1000 x M x 0.95 (for decrease in raw material cost)
P2 = Revised pipe price in Rs. Per Meter
P1 = Existing pipe price in Rs. Per Meter
A2 = Revised price of raw material Rs. Per MT
A1 = Existing price of raw material Rs. Per MT
M = Weight of pipe in Kgs per Meter as per weight chart.

## 22-Gaskets
RATES FOR RUBBER GASKETS SUITABLE FOR C.I/ D.I. S/S PIPES
Sl. No. | Description | Unit | S S Rates For 2004-05
1 | 2 | 3 | 4
MANUFACTURE AS PER BIS 12820/89 WITH S.B.R. QUALITY RUBBER CONFIRMING TO BIS: 5382/85, SUPPLY AND DELIVERY OF RUBBER GASKETS SUITABLE FOR C.I/ D.I. S/S PIPES ANYWHERE IN A.P. F.O.R. DESTINATION DEPARTMENTAL STORES INCLUDING COST OF MATERIAL, LOADING, INCIDENTAL HANDLING WITH COMPANYS STANDARD PACKING, TRANSPORTATION, UNLOADING & STACKING BUT EXCLUDING CENTRAL EXCISE DUTY, SALES TAX OCTROI AND OTHER GOVT. LEVIES ETC., COMPLETE.
| 80mm dia | Each | 27.8
| 100mm dia | Each | 40
| 150mm dia | Each | 63.85
| 200mm dia | Each | 78.3
| 250mm dia | Each | 87.55
| 300mm dia | Each | 133.9
| 350mm dia | Each | 168.9
| 400mm dia | Each | 184.35
| 450mm dia | Each | 198.8
| 500mm dia | Each | 299.75
| 600mm dia | Each | 354.25
| 700mm dia | Each | 470.9
| 750mm dia | Each | 523.2
| 800mm dia | Each | 626.75
| 900mm dia | Each | 757.55
| 1000mm dia | Each | 828.4

## 21-W-hammer
S S RATES FOR WATER HAMMER CONTROL DEVICES FOR THE YEAR 2004-05
Code No. | Description | TEST PRESSURE
|  | 10 Kgs/cm2 | 15 Kgs/cm2 | 20 Kgs/cm2 | 25 Kgs/cm2 | Additional charges for Flanged ended valves
1 | 2 | 3 | 4 | 5 | 6 | 7
Manufacture, Supply and delivery of zero volocity valve/ PSLV with CI body with flanged ends as per AWWA, Ex-factory excluding transportation, Central Excise duty and sale tax etc., complete.
DIA IN MM Rate/Each
100
125
| 150 | 36375 | 42459 | 44968 | 49465
| 200 | 38000 | 43700 | 46978 | 51675
| 250 | 42875 | 49306 | 53004 | 58304
| 300 | 48250 | 55488 | 59650 | 65615
Manufacture, Supply and delivery of zero volocity valve/ PSLV with MS Fabricated Body with Plain ends. as per AWWA, Ex-factory excluding trans-portation, Central Excise duty and sale tax etc., complete.
DIA IN MM Rate/ Each
| 350 | 49055 | 56413 | 60644 | 66709 | 4250
| 400 | 54223 | 62356 | 67033 | 73738 | 5125
| 450 | 63066 | 72526 | 77965 | 85763 | 6125
| 500 | 72888 | 83820 | 90108 | 99119 | 6625
| 525/550 | 78290 | 89000 | 98023 | 107825 | 8563
| 600 | 87659 | 100808 | 108369 | 119205 | 12215
| 650 | 98125 | 107938 | 122688 | 132438 | 13813
| 700 | 114375 | 125875 | 143000 | 154438 | 16500
| 750 | 126688 | 139375 | 158375 | 171063 | 18525
| 800 | 154328 | 177478 | 190788 | 209865 | 20875
| 900 | 183429 | 210943 | 222500 | 249440 | 25250
| 1000 | 222500 | 222500 | 222500 | 309188 | 32063
| 1050 | 224725 | 224725 | 224725 | 32555 | 33345
| 1100 | 283475 | 321438 | 350454 | 385500 | 37125
| 1200 | 341188 | 375313 | 427563 | 460625 | 42000
| 1400 | 511782 | 562969.5 | 641344.5 | 690937.5 | 63000
| 1500 | 596313 | 655938 | 745375 | 804938 | 59063
| 1600 | 608239.26 | 669056.76 | 760282.5 | 821036.76 | 60244.26
Manufacture, Supply and delivery of Air Cushan valves / Quick Released damped Air Valves (QRDA) as per AWWA, Ex-factory excluding transportation, Central Excise duty and sale tax etc., complete.
DIA IN MM Rate/Each
| 100 | 31750 | 36513 | 40164 | 44180
| 150 | 48250 | 55488 | 61036 | 67140
| 200 | 51500 | 59225 | 65148 | 71663
| Conveyance of valves and accessories including loading at factory and unloading, stacking at site of work. | 10% on basic cost of valves

## 20-Valves
S S RATES FOR C.I. D/F VALVES FOR THE YEAR 2004-05
Code No. | Description
1 | 2 | 3 | 4 | 5
| Manufacture, Supply and delivery of CI D/F sluice valves conforming to IS 14846/2000 Non-rising spindle type with /SS 410 Spindle & GM working parts. excluding transportation, Central Excise duty and sale tax etc., complete. The operation can be done with handwheel/cap ISI Marked. (Ex-work Howrah) |  |  | FOR Enclosed Spur Gear Arrangement with Thrust bearing for easy operation.
| With handwheel/cap Rate/Each | PN-1.0 | PN-1.6
| DIA IN MM | Rs. | Rs.
| 50 | 1662 | 2078 | N.A.
| 65 | 2030 | 2841 | N.A.
| 80 | 2436 | 3042 | N.A.
| 100 | 3250 | 4059 | N.A.
| 125 | 4059 | 5073 | N.A.
| 150 | 4871 | 6087 | N.A.
| 200 | 8625 | 10781 | N.A.
| 250 | 12915 | 16143 | N.A.
| 300 | 14945 | 18680 | N.A.
| 350 | 26475 | 34032 | 7500
| 400 | 32700 | 42045 | 7500
| 450 | 47040 | 60940 | 7500
| 500 | 59160 | 74907 | 7500
| 600 | 79095 | 100125 | 7500
| 700 | 139215 | N.A. | 9000
| 750 | 235690 | N.A. | 9000
| 800 | 272250 | N.A. | 9000
| 900 | 328175 | N.A. | 9000
1000
1100
1200
Manufacture, Supply and delivery of CI D/F Non Return Valve Heavy Duty Round Body conforming to IS 5312/Part1/1984. excluding transportation, Central Excise duty and sale tax etc., complete. (Ex-work Howrah)
| Rate/Each | PN-1.0 | PN-1.6
| DIA IN MM | Rs. | Rs.
| 50 | 1260 | 1260
| 65 | 1575 | 1575
| 80 | 1890 | 1890
| 100 | 2520 | 2520
| 125 | 3150 | 3150
| 150 | 3780 | 4725
| 200 | 7540 | 9425
| 250 | 10935 | 13670
| 300 | 16452 | 20565
| 350 | 22635 | 28300 | P.N 0.6
| 400 | 28923 | 36150
| 450 | 48717 | 60900
| 500 | 58765 | 73460
| 600 | 93885 | 117360
Manufacture, Supply and delivery of CI D/F Kinetic Double Air Valve Heavy Duty suitable for workking pressure upto 16kg/Cm2 without isolating valve, conforming to IS 14845 excluding transportation, Central Excise duty and sale tax etc., complete. (Ex-work Howrah)
| DIA IN MM | Rate/Each
Rs.
| 40 |  | 1680
| 50 |  | 2030
| 80 |  | 2716
| 100 |  | 3640
| 150 |  | 8200
| 200 |  | 13580
Manufacture, Supply and delivery of CI D/F Double Air Valve suitable for workking pressure upto 10kg/Cm2 conforming to G & K Fig.H7 excluding transportation, Central Excise duty and sale tax etc., complete. (Ex-work Howrah)
| DIA IN MM | Rate/Each
Rs.
| 40 |  | 1043
| 50 |  | 1440
| 80 |  | 1995
| 100 |  | 2475
| 150 |  | 6450
| 200 |  | 11250
Manufacture, Supply and delivery of CI D/F Kinetic Air Valve as per IS:14845 Heavy Duty with isolating valve bevel gear operated as per IS 14846 excluding transportation, Central Excise duty and sales tax etc., complete. (Ex-work Howrah)
| DIA IN MM | Rate/Each in Rs.
|  | PIN 1.0 | PIN 1.6
| 40 | 4782 | 5500
| 50 | 5580 | 6417
| 80 | 7350 | 8450
| 100 | 10125 | 11650
| 150 | 19950 | 22950
| 200 | 29750 | 34215
Manufacture, Supply and delivery of CI D/F Kinetic Air Valve as per G&K H42K with isolating valve bevel gear operated as per IS 14845 excluding transportation, Central Excise duty and sales tax etc., complete. (Ex-work Howrah)
| DIA IN MM | Rate/Each in Rs.
|  | PIN 1.0 | PIN 1.6
| 40 | 3825 | 4782
| 50 | 4463 | 5580
| 80 | 5880 | 7350
| 100 | 8100 | 10125
| 150 | 15960 | 19950
| 200 | 23800 | 29750
| Conveyance of valves and accessories including loading at factory and unloading, stacking at site of work. | 10% on basic cost of valves

## 19-SFRC
RATES FOR SFRC MAN-HOLE FRAME WITH COVERS
S.No. | Description | Unit | S S Rates for 2004-05
1 | 2 | 3 | 4
I | Manufacture as per BIS:12592 (Part 1&2) Supply & Delivery of manhole covers and frames anywhere in A.P., F.O.R. destination including, loading, un-loading & stacking at site but excluding central exise duty, sales tax, octroi and other Govt levies etc.
a) | M.D. -10 with 500mm dia clear opening | Each | 594
b) | H.D.-20 with 500mm dia clear opening | Each | 765
| H.D.-20 with 560mm dia clear opening | Each | 821
| H.D.-35 with 560mm dia clear opening. | Each | 880
II | Manufacture as per companys standard specification supply and delivery of encapsulated plastic steps for man holes anywhere in A.P. including cost of materials packing as per companys standards, loading, transportation, unloading and stacking at site of work etc, complete but excluding taxes such as sales tax,C.E.D and others etc. | Each | 65

## 18-HDPE
S S RATES FOR H.D.P.E PIPES FOR THE YEAR 2004-05 (PE - 80 Grade)
Code No. | Description | 2.5 kg/ sqcm | 4.0 kg/ sqcm | 6.0 kg/ sqcm | 8.0 kg/ sqcm | 10.0 kg/ sqcm
1 | 2 | 3 | 4
Manufacture, supply, & delivery of HDPE pipes conforming to IS 4984 - 1995 including transportation to any where in A.P, excluding excise duty, sale tax and specials etc., complete. ( Supply upto 90 mm dia in coil & above 90 mm dia stright length in 6 M.)
Rate per Meter
| OD 20 mm | - | - | - | - | 8.25
| OD 25 mm | - | - | - | - | 12.3
| OD 32 mm | - | - | 14.2 | 16.9 | 20.1
| OD 40 mm | - | 17.55 | 19.81 | 25.9 | 31.35
| OD 50 mm | - | 25.1 | 32.2 | 40 | 48.6
| OD 63 mm | 21.2 | 34.39 | 47.83 | 60.73 | 73.09
| OD 75 mm | 36.2 | 47 | 67.9 | 85.93 | 103.2
| OD 90 mm | 46.28 | 68 | 96.47 | 122.95 | 147.56
| OD 110 mm | 65.55 | 101.68 | 144.66 | 183.89 | 218.7
| OD 125 mm | 81 | 130.49 | 185.2 | 236.52 | 283.55
| OD 140 mm | 107.43 | 161.56 | 232 | 295.76 | 355.65
| OD 160 mm | 138.96 | 211.67 | 302.61 | 385.5 | 463.56
| OD 180 mm | 172.79 | 266.83 | 380.94 | 488.69 | 585.75
| OD 200 mm | 212.22 | 326.45 | 471.92 | 602.35 | 722.22
| OD 225 mm | 279.9 | 432.15 | 620.15 | 792.5 | 953.1
| OD 250 mm | 345.3 | 534.6 | 762.95 | 980.1 | 1176.35
| OD 290 mm | 433.9 | 665.8 | 957.05 | 1226.6 | 1473.9
| OD 315 mm | 544.7 | 846.9 | 1214.2 | 1552.7 | 1864.65
Note: | The present central excise duty is @ 16% APGST is @ 12% and CST is @ 4%.
The IPCL resin cost adopted for the above rates are
For PE - 80 grade Rs.40,733/- per MT. (Excluding CED)
The veriation in cost of HDPE pipes due to increase / decrease in raw material cost shall be allowed subject to the following price variation formula.
The price variation formula to be adopted is as follows:
P2 = P1 + (A2 - A1) /1000 x M x 0.9 (for increase in raw material cost)
P2 = P1 - (A1 - A2) /1000 x M x 0.9 (for decrease in raw material cost)
P2 = Revised pipe price in Rs. Per Meter
P1 = Existing pipe price in Rs. Per Meter
A2 = Revised price of raw material Rs. Per MT
A1 = Existing price of raw material Rs. Per MT
M = Weight of pipe in Kgs per Meter as per weight chart.

## 17-GRP
RATES FOR GLASS FIBRE REINFORCED PLASTIC (GRP) PIPES
Code No. | Description
1 | 2
GLASSFIBRE REINFORCED PLASTIC (GRP) PIPES CONFORMING TO IS 12709 - 1994 Stiffness class 124 Kpa including transportation to any where in A.P. with jointing materials i.e., Reka couplings, Rubber Gaskets etc., for jointing pipes including cost of specials, loading, un-loading and stacking etc., complete but excluding Central Excise duty and sale tax.
| Size | Unit | S S Rates for 2004-05
|  |  | 3 Bar | 6 Bar | 9 Bar | 12 Bar | 15 Bar
| 350 MM DIA | Meter | 1523 | 1544 | 1592 | 1636 | 1712
| 400 MM DIA | Meter | 1696 | 1771 | 1836 | 1922 | 1998
| 450 MM DIA | Meter | 1990 | 2066 | 2179 | 2287 | 2417
| 500 MM DIA | Meter | 2266 | 2358 | 2493 | 2649 | 2800
| 600 MM DIA | Meter | 2880 | 2999 | 3182 | 3506 | 3669
| 700 MM DIA | Meter | 3645 | 3812 | 4050 | 4417 | 4752
| 800 MM DIA | Meter | 4462 | 4673 | 5045 | 5488 | 5926
| 900 MM DIA | Meter | 5578 | 5815 | 6318 | 6852 | 7420
| 1000 MM DIA | Meter | 6685 | 6993 | 7522 | 8203 | 8845
Cost of laying jointing, testing to Hydrostatic field test pressure including cost of transportation of water and emptying pipe line after completion of field testing.
| Size | Unit | S S Rates for 2004-05
|  |  | 3 Bar | 6 Bar | 9 Bar | 12 Bar | 15 Bar
| 350 mm dia | Meter | 120 | 120 | 120 | 120 | 120
| 400 mm dia | Meter | 180 | 180 | 180 | 180 | 180
| 450 mm dia | Meter | 220 | 220 | 220 | 220 | 220
| 500 mm dia | Meter | 280 | 280 | 280 | 280 | 280
| 600 mm dia | Meter | 300 | 300 | 300 | 300 | 300
| 700 mm dia | Meter | 340 | 340 | 340 | 340 | 340
| 800 mm dia | Meter | 400 | 400 | 400 | 400 | 400
| 900 mm dia | Meter | 440 | 440 | 440 | 440 | 440
| 1000 mm dia | Meter | 510 | 510 | 510 | 510 | 510
NOTE: | The methodology adopted for rates is as follows:
Percentage of raw materials in the finished product of the pipe
1) Hoop Glass Fibre Rovings :H%
2) Chop Glass : C%
3) Resin : R%
The cost of variation in Raw materials are:
1) Variation in cost of Hoop Glass :h%
2) Variation in cost of Chop Glass :c%
3) Variation in cost of Resin :r%
The percentage of variation in cost of pipe allowed is : (H x h + C x c + R x r)/100
The above raw materials rates are obtained from the principal manufacturers
The rates of raw materials are:
1) Hoop Glass Fibre Rovings - Rs.60/kg
2) Chop Glass - Rs.63/kg
3) Resin - Rs.58/kg

## 16-C.I.
RATES FOR CENTRIFUGALLY CAST (SPUN) IRON PRESSURE PIPES
Code No. | Description | Unit | S S Rates for 2004-05
1 | 2 | 3 | 4
| SOCKET AND SPIGOT CENTRIFUGALLY CAST (SPUN) IRON PRESSURE PIPES FOR WATER, GAS AND SEWAGE CONFORMING TO SPECIFICATION NO: I..S 1536/1989 (THIRD REVISION) WITH Amdt. No: 1 & 2 IN STANDARD LENGTHS OF 3.66 M, 4 M, 4.5M, 5 M, 5.5 M & 6 M AND DETAILS GIVEN BELOW, SUITABLE EITHER FOR LEAD JOINTING OR RUBBER GASKET (PUSHON) JOINTING AT PURCHASERS OPTION AT EX-FACTORY EXCLUDING TRANSPORTATION, TAXES & DUTIES. |  | Note: The prevailing rates for Centrifugally Cast (Spun) Iron Pressure Pipes as per DGS & D Rate Contract shall be adopted.

## 15-D.I. Bends
S S RATES FOR D.I. DOUBLE SOCKET BENDS FOR THE YEAR 2004-05
Code No. | Description
1 | 2 | 3 | 4 | 5 | 6
CENTRIFUGALLY CAST (SPUN) DUCTILE IRON FITTINGS CONFORMING TO IS:9523/2000 HAVING DIMENTIONS AS PER TABLE. THE RATES MENTIONED HERE UNDER ARE FOR FITTINGS, ZINC COATED EXTERNALLY WITH INSIDE MOTOR LINING (WITH FINISHING AS PER CLASS 13/IS 9523/2000) Ex - works excluding transportation, taxes and duties etc.
DI double socket Bends
| Nominal dia in mm Rate/Each | 90o | 45o | 22½ o | 11¼o
| 80 | - | - | 315 | 315
| 100 | 495 | - | 405 | -
| 150 | - | 720 | 675 | 630
| 200 | 1440 | 1170 | 1035 | 945
| 250 | 2025 | 1575 | 1350 | 1260
| 300 | 2925 | 2205 | 1890 | 1710
| 350 | - | 3200 | 2650 | 2350
| 400 | - | 4000 | 3300 | 2900
| 450 | - | 5300 | 4250 | 3700
| 500 | - | 7040 | 5665 | 4840
| 600 | - | 10890 | 8690 | 7370

## 14-D.I. Specials
RATES FOR DUCTILE IRON FITTINGS
Code No. | Description | Unit | S S Rates for 2004-05
1 | 2 | 3 | 4
CENTRIFUGALLY CAST (SPUN) DUCTILE IRON FITTINGS CONFORMING TO IS:9523/2000 HAVING DIMENTIONS AS PER TABLE. THE RATES MENTIONED HERE UNDER ARE FOR FITTINGS, ZINC COATED EXTERNALLY WITH INSIDE MOTOR LINING (WITH FINISHING AS PER CLASS 13/IS 9523/2000) ( Ex-works) Excluding transportation, taxes and duties etc.
I | DI double socket branch flange Tee
Nominal dia in mm
| 80 x 80 | Each | 585
| 100 x 80 | Each | 675
| 100 x 100 | Each | 765
| 150 x 80 | Each | 945
| 150 x 100 | Each | 1035
| 150 x 150 | Each | 1260
| 200 x 80 | Each | 1305
| 200 x 100 | Each | 1395
| 200 x 150 | Each | 1665
| 200 x 200 | Each | 1980
| 250 x 80 | Each | 1620
| 250 x 100 | Each | 1755
| 250 x 150 | Each | 2025
| 250 x 200 | Each | 2385
| 250 x 250 | Each | 2835
| 300 x 100 | Each | 2295
| 300x 200 | Each | 2970
| 300 x 300 | Each | 3960
| 350 x 100 | Each | 3000
| 350 x 200 | Each | 3900
| 350 x 350 | Each | 5850
| 400 x 80 | Each | 3400
| 400 x 100 | Each | 3600
| 400 x 150 | Each | 4050
| 400 x 200 | Each | 4550
| 400 x 300 | Each | 5800
| 400 x 400 | Each | 7500
| 450 x 100 | Each | 4400
| 450 x 250 | Each | 6000
| 500 x 100 | Each | 5665
| 500 x 200 | Each | 6875
| 500 x 400 | Each | 10065
| 500 x 500 | Each | 12320
| 600 x 200 | Each | 9405
II | DI All socket Tees+B16
Nominal dia in mm
| 80 x 80 | Each | 540
| 100 x 80 | Each | 630
| 100 x 100 | Each | 675
| 150 x 80 | Each | 900
| 150 x 100 | Each | 945
| 150 x 150 | Each | 1125
| 200 x 80 | Each | 1260
| 200 x 100 | Each | 1350
| 200 x 150 | Each | 1530
| 200 x 200 | Each | 1800
| 250 x 80 | Each | 1575
| 250 x 100 | Each | 1665
| 250 x 150 | Each | 1890
| 250 x 200 | Each | 2160
| 250 x 250 | Each | 2475
| 300 x 100 | Each | 2250
| 300x 200 | Each | 2790
| 300 x 300 | Each | 3465
III | DI double socket concerntric TAPERS
Nominal dia in mm
| 100 x 80 | Unit | 360
| 150 x 80 | Unit | 585
| 150 x 100 | Unit | 585
| 200 x 100 | Unit | 900
| 200 x 150 | Unit | 900
| 250 x 150 | Unit | 1260
| 250 x 200 | Unit | 1215
| 300 x 150 | Unit | 1710
| 300x 200 | Unit | 1710
| 300 x 250 | Unit | 1575
| 350 x 200 | Unit | 2500
| 350 x 250 | Unit | 2400
| 350 x 300 | Unit | 2250
| 400 x 250 | Unit | 3100
| 400 x 300 | Unit | 3000
| 400 x 350 | Unit | 2750
| 450 x 350 | Unit | 3700
| 450 x 400 | Unit | 3450
| 500 x 350 | Unit | 5115
| 500 x 400 | Unit | 4785
| 600 x 500 | Unit | 6710
IV | DI Flanged socket | PN-10 | PN-16
Nominal dia in mm Rate/Unit
| 80 | 400 | 400
| 100 | 450 | 450
| 150 | 700 | 700
| 200 | 1000 | 1000
| 250 | 1300 | 1300
| 300 | 1650 | 1750
| 350 | 2310 | 2475
| 400 | 2750 | 3025
| 450 | 3190 | 3740
| 500 | 4140 | 5040
| 600 | - | 8160
V | DI Flanged Spigot | PN-10 | PN-16
Nominal dia in mm Rate/Unit
| 80 | 400 | 400
| 100 | 500 | 500
| 150 | 800 | 800
| 200 | 1150 | 1150
| 250 | 1600 | 1600
| 300 | 2100 | 2150
| 350 | 2915 | 3080
| 400 | 3575 | 3905
| 450 | 4290 | 4840
| 500 | 5700 | -
| 600 | 8100 | 9540

## 13-D.I.
RATES FOR DUCTILE IRON PRESSURE PIPES
Code No. | Description | Unit | S S Rates for 2004-05
1 | 2 | 3 | 4
1 | CENTRIFUGALLY CAST (SPUN) DUCTILE IRON PRESSURE PIPES FOR WATER, GAS AND SEWAGE WITH SOCKET SPIGOT ENDS CONFORMING TO I.S.: 8329/2000 IN STANDARD WORKING LENGTHS OF 4, 5 5.5 & 6 METER FOR CLASSIFICATION K9 & K7 SUITABLE FOR PUSH-ON-JOINT (RUBBER GASKET D JOINTING) WITH CEMENT MOTOR LINING INSIDE THE PIPES WITH OUTSIDE ZINC COATING. RATES ARE EX-FACTORY EXCLUDING TRANSPORTATION, TAXES & DUTIES. |  | NOTE : The prevailing rates of DI Pipes as per D.G.S. & D Rate Contract shall be adopted.
2 | CENTRIFUGALLY CAST (SPUN) DUCTILE IRON PRESSURE PIES WITH FLANGED (WELDED) ENDS FOR WATER, GAS, SEWAGE CONFORMING TO I.S.: 8329/2000 IN STANDARD WORKING LENGTHS OF 4, 5, AND 5.5. Mts FOR CLASSIFICATION K9 & K7 WITH CEMENT MORTOR LINING INSIDE THE PIPES WITH OUTSIDE ZINC COATING. RATES ARE EX-FACTORY EXCLUDING TRANSPORTATION, TAXES & DUTIES.
3 | CENTRIFUGALLY CAST (SPUN) DUCTILE IRON PRESSURE PIPES FOR WATER, GAS AND SEWAGE WITH PLAIN ENDS CONFORMING TO I.S.: 8329/2000 IN STANDARD WORKING LENGTHS OF 4, 5, 5.5 & 6 METER FOR CLASSIFICATION K9 & K7 WITH CEMENT MOTOR LINING INSIDE THE PIPES WITH OUTSIDE ZINC COATING. RATES ARE EX-FACTORY EXCLUDING TRANSPORTATION, TAXES & DUTIES.

## 12-BWS
RATES FOR BAR WRAPPED STEEL CYLINDRICAL (BWSC) PIPES
Code No. | Description
1 | 2
BAR WRAPPED STEEL CYLINDRICAL (BWSC) PIPES CONFORMING TO IS 15155 - 2002 @ Ex-factory excluding transportation, taxes and duties including specials such as tees, bends and tappers etc., for Bar wrapped steel cylindrical pipes.
| Size | Unit | S S Rates for 2004-05
|  |  | 4 - 12 Kg/cm2 | 14 Kg/cm2 | 16 Kg/cm2 | 18 Kg/cm2 | 20 Kg/cm2 | 22 Kg/cm2 | 24 Kg/cm2 | 26 Kg/cm2 | 28 Kg/cm2 | 30 Kg/cm2
| 250 MM DIA | Meter | 1027 | 1027 | 1027 | 1027 | 1027 | 1027 | 1027 | 1027 | 1037 | 1075
| 300 MM DIA | Meter | 1157 | 1157 | 1157 | 1157 | 1157 | 1157 | 1185 | 1230 | 1252 | 1297
| 350 MM DIA | Meter | 1418 | 1418 | 1418 | 1418 | 1418 | 1418 | 1453 | 1502 | 1544 | 1587
| 400 MM DIA | Meter | 1561 | 1561 | 1561 | 1561 | 1561 | 1633 | 1696 | 1760 | 1824 | 2044
| 450 MM DIA | Meter | 1704 | 1704 | 1704 | 1722 | 1802 | 1881 | 1961 | 2041 | 2122 | 2279
| 500 MM DIA | Meter | 1901 | 1901 | 1921 | 2010 | 2109 | 2209 | 2317 | 2404 | 2589 | 2687
| 600 MM DIA | Meter | 2502 | 2502 | 2537 | 2679 | 2820 | 2949 | 3097 | 3241 | 2441 | 3564
| 700 MM DIA | Meter | 2834 | 2902 | 3092 | 3282 | 3473 | 3663 | 3917 | 4084 | 1284 | 4501
| 800 MM DIA | Meter | 3221 | 3467 | 3714 | 3953 | 4195 | 4526 | 4775 | 5162 | 5411 | 5677
| 900 MM DIA | Meter | 3992 | 4147 | 4457 | 4758 | 5060 | 5388 | 5867 | 6231 | 6557 | 6919
| 1000 MM DIA | Meter | 4503 | 4884 | 5259 | 5625 | 5992 | 6556 | 7022 | 7685 | 8045 | 8528
Cost of laying jointing, testing to Hydrostatic field test pressure including cost of site welding and fixing of Polypropylene Diapher cloth, cost of transportation of water and emptying pipe line after completion of field testing.
| Size | Unit | Proposed Rates for 2004-05
|  |  | 4 - 12 Kg/cm2 | 14 Kg/cm2 | 16 Kg/cm2 | 18 Kg/cm2 | 20 Kg/cm2 | 22 Kg/cm2 | 24 Kg/cm2 | 26 Kg/cm2 | 28 Kg/cm2 | 30 Kg/cm2
| 250 MM DIA | Meter | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180
| 300 MM DIA | Meter | 210 | 210 | 210 | 210 | 210 | 210 | 210 | 220 | 220 | 220
| 350 MM DIA | Meter | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 260 | 260 | 260
| 400 MM DIA | Meter | 280 | 280 | 280 | 280 | 280 | 290 | 290 | 300 | 300 | 310
| 450 MM DIA | Meter | 320 | 320 | 320 | 320 | 320 | 330 | 330 | 340 | 340 | 350
| 500 MM DIA | Meter | 350 | 350 | 350 | 360 | 360 | 370 | 380 | 380 | 390 | 400
| 600 MM DIA | Meter | 430 | 430 | 440 | 440 | 450 | 460 | 470 | 480 | 490 | 490
| 700 MM DIA | Meter | 500 | 510 | 520 | 530 | 540 | 550 | 560 | 570 | 580 | 590
| 800 MM DIA | Meter | 570 | 590 | 600 | 610 | 630 | 650 | 660 | 680 | 690 | 710
| 900 MM DIA | Meter | 670 | 670 | 690 | 710 | 720 | 740 | 770 | 790 | 810 | 830
| 1000 MM DIA | Meter | 740 | 760 | 780 | 800 | 830 | 860 | 880 | 920 | 940 | 960
Conveyance of Bar Wrapped steel Cylindrical (BWSC) pipes and accessories including loading at Factory, un-loading at site and stacking for the following sizes.
| 250 MM DIA | Per KM/M | 0.16 | 0.16 | 0.16 | 0.16 | 0.16 | 0.16 | 0.16 | 0.16 | 0.16 | 0.16
| 300 MM DIA | Per KM/M | 0.16 | 0.16 | 0.16 | 0.16 | 0.16 | 0.16 | 0.16 | 0.16 | 0.16 | 0.16
| 350 MM DIA | Per KM/M | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2
| 400 MM DIA | Per KM/M | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24
| 450 MM DIA | Per KM/M | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3
| 500 MM DIA | Per KM/M | 0.34 | 0.34 | 0.34 | 0.34 | 0.34 | 0.34 | 0.34 | 0.34 | 0.34 | 0.34
| 600 MM DIA | Per KM/M | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4
| 700 MM DIA | Per KM/M | 0.48 | 0.48 | 0.48 | 0.48 | 0.48 | 0.48 | 0.48 | 0.48 | 0.48 | 0.48
| 800 MM DIA | Per KM/M | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6
| 900 MM DIA | Per KM/M | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6
| 1000 MM DIA | Per KM/M | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8
NOTE: | The rates of BWSC pipes which werfe incorporatede in the SSR are based on the following raw materials cost.
HR Plates - Rs.20800/- (including all taxes & freight)
Wire rods - Rs.20200/- (including all taxes & freight)
The rates may be revised depending upon the increase/ decrease in the cost of raw materials as per the following method. For every increase/decrease of Rs.1000/- in the cost fo raw materials or part there of proportionately.
In respect of HR plates - The increase/ decrease in cost of pipe is 2.25%
In respect of Wire road - The increase/ decrease in cost of pipe is 1.70%
The cost of plates/ wire rods may be obtained from SAIL.

## 11-PSC
RATES FOR PRE-STRESSED (NON-CYLINDER) CONCRETE PIPES
Code No. | Description
1 | 2
MANUFACTURE, SUPPLY, DELIVERY OF PRE-STRESSED (NON-CYLINDER) CONCRETE PIPES CONFORMING TO IS 784/2001 @ Ex-factory excluding transportation and taxes & duties.
| Size | Unit | S S Rates for 2004-05
|  |  | 6 Kg/cm2 | 8 Kg/cm2 | 10 Kg/cm2 | 12 Kg/cm2 | 14 Kg/cm2 | 16 Kg/cm2
| 350 MM DIA | Meter | 1060 | 1060 | 1070 | 1080 | 1100 | 1140
| 400 MM DIA | Meter | 1140 | 1150 | 1160 | 1180 | 1200 | 1220
| 450 MM DIA | Meter | 1210 | 1220 | 1230 | 1260 | 1290 | 1320
| 500 MM DIA | Meter | 1310 | 1320 | 1330 | 1360 | 1390 | 1430
| 600 MM DIA | Meter | 1510 | 1520 | 1540 | 1590 | 1640 | 1690
| 700 MM DIA | Meter | 1850 | 1860 | 1890 | 1940 | 2010 | 2070
| 800 MM DIA | Meter | 2190 | 2210 | 2270 | 2330 | 2420 | 2510
| 900 MM DIA | Meter | 2540 | 2560 | 2620 | 2730 | 2840 | 3000
| 1000 MM DIA | Meter | 2980 | 3010 | 3100 | 3220 | 3410 | 3560
| 1100 MM DIA | Meter | 3390 | 3440 | 3540 | 3730 | 3900 | 4070
| 1200 MM DIA | Meter | 3760 | 3830 | 3960 | 4170 | 4380 | 4580
Cost of laying jointing, testing to Hydrostatic field test pressure including cost of rubber rings, cost of transportation of water and emptying pipe line after completion of field testing etc.
| 350 MM DIA | Meter | 75 | 75 | 75 | 75 | 75 | 75
| 400 MM DIA | Meter | 85 | 85 | 85 | 85 | 85 | 85
| 450 MM DIA | Meter | 95 | 95 | 95 | 95 | 95 | 95
| 500 MM DIA | Meter | 100 | 100 | 100 | 100 | 100 | 100
| 600 MM DIA | Meter | 125 | 125 | 125 | 125 | 125 | 125
| 700 MM DIA | Meter | 145 | 145 | 145 | 145 | 145 | 145
| 800 MM DIA | Meter | 165 | 165 | 165 | 165 | 165 | 165
| 900 MM DIA | Meter | 185 | 185 | 185 | 185 | 185 | 185
| 1000 MM DIA | Meter | 210 | 210 | 210 | 210 | 210 | 210
| 1100 MM DIA | Meter | 235 | 235 | 235 | 235 | 235 | 235
| 1200 MM DIA | Meter | 255 | 255 | 255 | 255 | 255 | 255
CONVEYANCE OF PRE-STRESSED (NON-CYLINDER) CONCRETE PIPIES AND ACCESSORIES including loading at Factory, un-loading at site and stacking for the following sizes.
| 350 MM DIA | Per KM/M | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3
| 400 MM DIA | Per KM/M | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3
| 450 MM DIA | Per KM/M | 0.34286 | 0.34286 | 0.34286 | 0.34286 | 0.34286 | 0.34286
| 500 MM DIA | Per KM/M | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4
| 600 MM DIA | Per KM/M | 0.48 | 0.48 | 0.48 | 0.48 | 0.48 | 0.48
| 700 MM DIA | Per KM/M | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8
| 800 MM DIA | Per KM/M | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8
| 900 MM DIA | Per KM/M | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8
| 1000 MM DIA | Per KM/M | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2
| 1100 MM DIA | Per KM/M | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2
| 1200 MM DIA | Per KM/M | 2.4 | 2.4 | 2.4 | 2.4 | 2.4 | 2.4

## 9-AC-R
RATES FOR RUBBER RINGS TO SUIT A.C. PIPES
Code No. | Description
1 | 2
SCHEDULE OF RATE FOR SUPLY OF RUBBER RINGS MANUFACTURED AS PER BIS: 5382/88 AND WITH BIS MARK EMBOSSED PER EACH SET SUITABLE FOR A.C. COUPLINGS INCLUDING COST OF MATERIAL, INCIDENTAL, HANDLING, PACKING, TRANSPORTATION AND UNLOADING AT SITE TRANSIT RISK ETC., BUT EXCLUDING SALES TAX
| Size | Unit | S S Rates for 2004-05
|  |  | Class - 5 | Class - 10 | Class - 15 | Class - 20 | Class - 25
| 80 mm dia | Each Set | 24.3 | 24.3 | 24.3 | 24.3 | 24.3
| 100 mm dia | Each Set | 29.8 | 29.8 | 29.8 | 29.8 | 29.8
|  | Each Set | 39 | 39 | 39 | 39 | 39
| 150 mm dia | Each Set | 49.8 | 49.8 | 49.8 | 49.8 | 49.8
| 200 mm dia | Each Set | 51 | 51 | 51 | 51 | 51
| 250 mmdia | Each Set | 59.5 | 59.5 | 59.5 | 59.5 | 59.5
| 300 mm dia | Each Set | 59.7 | 59.7 | 59.7 | 59.7 | 59.7
| 350 mm dia | Each Set | 67.2 | 67.2 | 67.2 | 67.2 | 67.2
| 400 mm dia | Each Set | 82.1 | 82.1 | 82.1 | 82.1 | 82.1
| 450 mm dia | Each Set | 97 | 97 | 97 | 97 | 97
| 500 mm dia | Each Set | 112 | 112 | 112 | 112 | 112
| 600 mm dia | Each Set | 126.9 | 126.9 | 126.9 | 126.9 | 126.9
SCHEDULE OF RATES FOR TRANSPORTATION OF A.C. PRESSURE PIPES AT DEPARTMENTAL STORES WITHIN THE STATE OF ANDHRA PRADESH
| Stores delivery charges for transportation of AC pressure pipes at departmental stores anywhere in Andhra Pradesh on motorable roads for full truck loads including transit insurance, unloading, and stacking at Departmental stores etc., complete (A.C. couplings and Rubber rings are to be supplied free of transportation charges). |  |  |  |  | 6% on the value of AC Pressure pipes only. (on basic price)

## 8-AC-C
RATES FOR A.C. COUPLINGS
Code No. | Description
1 | 2
MANUFACTURE AS PER MANUFACTURERS SPECIFICATION (MAZZA PROCESS) AND SUPPLY OF A.C. COUPLINGS99 WITHOUT RUBBER RINGS TO SUIT AC PRESSURE PIPES INCLUDING COST OF MATERIAL, INCIDENTAL HANDLING, PACKING TRANSPORTATION AND UNLOADING AT SITE TRANSIT RISK BUT EXCLUDING EXCISE DUTY, SALES TAXES AND OTHER GOVT. LEVIES.
| Size | Unit | S S Rates for 2004-05
|  |  | Class - 5 | Class - 10 | Class - 15 | Class - 20 | Class - 25
| 80 mm dia | Rate/Each | 38.7 | 38.7 | 38.7 | 40.5 | 46.8
| 100 mm dia | Rate/Each | 48.6 | 48.6 | 50.4 | 52.2 | 63
| 125 mm dia | Rate/Each | 59.4 | 59.4 | 63 | 68.4 | 82.8
| 150 mm dia | Rate/Each | 68.4 | 68.4 | 72 | 90 | 111.6
| 200 mm dia | Rate/Each | 86.4 | 99 | 133.2 | 142.2 | 181.8
| 250 mmdia | Rate/Each | 97.2 | 127.8 | 154.8 | 194.4 | 248.4
| 300 mm dia | Rate/Each | 113.4 | 158.4 | 201.6 | 261 | 334.8
| 350 mm dia | Rate/Each | 212.4 | 212.4 | 262.8 | 340.2 | 435.6
| 400 mm dia | Rate/Each | 289.8 | 289.8 | 405 | 529.2 | 682.2
| 450 mm dia | Rate/Each | 343.8 | 343.8 | 486 | 640.8 | 826.2
| 500 mm dia | Rate/Each | 410.4 | 410.4 | 579.6 | 775.8 | 993.6
| 600 mm dia | Rate/Each | 549 | 549 | 666 | 869.4 | 1112.4

## 7-AC-P
RATES FOR A.C. PIPES
Code No. | Description
1 | 2
MANUFACTURE AS PER BIS NO: 1592/1989 AS AMENDED FROM TIME TO TIME (MAZZA PROCESS) AND SUPPLY OF AC PRESSURE PIPES DULY MARKED WITH BIS MARK, INCLUDING COST OF MATERIAL, INCIDENTAL HANDLING, LOADING AND PACKING CHARGES BUT ARE EXCLUSIVE OF TRANSPORTATION, UNLOADING, STACKING AT DEPARTMENTAL STORES, EXCISE DUTY, SALES TAX, OCTROI AND OTHER GOVT. LEVIES.
| Size | Unit | S S Rates for 2004-05
|  |  | Class -5 | Class - 10 | Class - 15 | Class - 20 | Class - 25
| 80 mm dia | Rate/Meter | 74.3 | 74.3 | 74.75 | 80.85 | 101.45
| 100 mm dia | Rate/Meter | 93.6 | 93.6 | 98.16 | 124.2 | 153.9
| 125 mm dia | Rate/Meter | 117.6 | 117.6 | 128.7 | 160.2 | 201.9
| 150 mm dia | Rate/Meter | 145.8 | 145.8 | 182.16 | 226.8 | 283.8
| 200 mm dia | Rate/Meter | 203.7 | 229.2 | 303.6 | 385.2 | 489
| 250 mmdia | Rate/Meter | 251.7 | 298.8 | 384 | 494.1 | 619.8
| 300 mm dia | Rate/Meter | 324.3 | 386.4 | 539.1 | 697.2 | 888.6
| 350 mm dia | Rate/Meter | 475.2 | 475.2 | 658.5 | 855.3 | 1074.6
| 400 mm dia | Rate/Meter | 589.5 | 589.5 | 857.1 | 1116.6 | 1384.8
| 450 mm dia | Rate/Meter | 710.7 | 710.7 | 1008.3 | 1335.3 | 1673.4
| 500 mm dia | Rate/Meter | 878.4 | 878.4 | 1251 | 1635.9 | 2055.3
| 600 mm dia | Rate/Meter | 1230 | 1230 | 1776.3 | 2315.1 | 2950.8

## 6-RCC-C-S
S S RATES FOR CONVEYANCE OF R.C.C. S/S PIPES FOR THE YEAR 2004-05
Code No. | Description | Rate upto 5 Kms Lead including Loading, unloading and stacking | Rate for every additional 1 KM lead or part thereof. | Rate upto 5 Kms Lead including Loading, unloading and stacking | Rate for every additional 1 KM lead or part thereof.
1 | 2 | 3 |  |  | 4
CONVEYANCE OF R.C.C. SOCKET AND SPIGOT PIPES ON ALL WEATHER ROADS INCLUDING LOADING, UNLOADING AND STACKING (per Meter of effective length)
| Size | NP - 2 & P1 Class |  | NP - 3 & NP - 4 Class
| 80 mm dia | 1.65 | 0.1
| 100 mm dia | 1.9 | 0.11
| 150 mm dia | 2.65 | 0.15
| 200 mm dia | 3.4 | 0.25
| 225 mm dia | 4.1 | 0.3
| 250 mm dia | 4.6 | 0.36
| 300 mm dia | 6.8 | 0.4
| 350 mm dia | 8.5 | 0.5 | 20 | 0.7
| 400 mm dia | 10.3 | 0.65 | 25 | 1.22
| 450 mm dia | 11.8 | 0.7 | 27.5 | 1.25
| 500 mm dia | 13.25 | 0.75 | 30 | 1.3
| 600 mm dia | 17.5 | 1.21 | 41 | 1.85
| 700 mm dia | 21.25 | 1.3 | 55 | 3.68
| 800 mm dia | 29.5 | 2 | 65 | 3.7
| 900 mm dia | 44 | 3.65 | 75 | 3.7
| 1000 mm dia | 50 | 3.65 | 79 | 3.7
| 1100 mm dia | 56.5 | 3.65 | 85 | 3.7
| 1200 mm dia | 63 | 3.7 | 95 | 3.75
| 1400 mm dia | 78 | 3.7 | 127 | 3.75
| 1600 mm dia | 93 | 3.75 | 150 | 4
| 1800 mm dia | 115 | 3.75 | 200 | 5.5
|  | P2 - Class |  | P3 - Class
| 80 mm dia | 1.65 | 0.1 | 1.65 | 0.1
| 100 mm dia | 1.9 | 0.11 | 1.9 | 0.11
| 150 mm dia | 2.65 | 0.15 | 2.65 | 0.15
| 200 mm dia | 3.69 | 0.3 | 5 | 0.33
| 225 mm dia | 5 | 0.37 | 5.6 | 0.38
| 250 mm dia | 5.25 | 0.39 | 6.6 | 0.5
| 300 mm dia | 10 | 0.52 | 11.5 | 0.6
| 350 mm dia | 12.6 | 0.7 | 16 | 0.75
| 400 mm dia | 15 | 0.75 | 21.5 | 1.22
| 450 mm dia | 19 | 1.17 | 26.5 | 1.25
| 500 mm dia | 21.5 | 1.2 | 32.5 | 1.75
| 600 mm dia | 28.5 | 1.27 | 46.5 | 2.32
| 700 mm dia | 42 | 2.45 | 68.5 | 3.7
| 800 mm dia | 56 | 3.5 | 87 | 3.7
| 900 mm dia | 66 | 3.7
| 1000 mm dia | 84 | 3.75

## 5-RCC-C-PEP
S S RATES FOR CONVEYANCE OF R.C.C. PLAIN ENDED PIPES FOR THE YEAR 2004-2005
Code No. | Description | Rate upto 5 Kms Lead including Loading, unloading and stacking | Rate for every additional 1 KM lead or part thereof. | Rate upto 5 Kms Lead including Loading, unloading and stacking | Rate for every additional 1 KM lead or part thereof.
1 | 2 | 3 | 4 | 5 | 6
CONVEYANCE OF R.C.C. PLAIN ENDED PIPES ON ALL WEATHER ROADS INCLUDING LOADING, UNLOADING AND STACKING (per Meter)
|  | NP - 2 Class |  | NP - 3 Class & NP - 4 Class
| 80 mm dia | 1.3 | 0.06
| 100 mm dia | 1.6 | 0.08
| 150 mm dia | 2.25 | 0.13
| 200 mm dia | 3 | 0.16
| 225 mm dia | 3.5 | 0.2
| 250 mm dia | 4 | 0.24
| 300 mm dia | 6 | 0.3
| 350 mm dia | 7.8 | 0.38 | 17 | 0.45
| 400 mm dia | 9 | 0.5 | 20 | 0.65
| 450 mm dia | 11.5 | 0.65 | 22 | 0.75
| 500 mm dia | 12.5 | 0.75 | 24 | 0.75
| 600 mm dia | 18 | 1.1 | 36 | 1.6
| 700 mm dia | 23 | 1.6 | 40 | 1.88
| 800 mm dia | 27 | 1.6 | 48 | 1.88
| 900 mm dia | 31 | 1.6 | 63 | 3.5
| 1000 mm dia | 46 | 3.25 | 76 | 3.5
| 1100 mm dia | 50.5 | 3.25 | 82 | 3.75
| 1200 mm dia | 57 | 3.45 | 92 | 3.75
| 1400 mm dia | 69 | 3.45 | 125 | 3.96
| 1600 mm dia | 80 | 3.5 | 150 | 3.96
| 1800 mm dia | 92 | 3.5 | 200 | 5.54

## 4-RCC-R-RINGS
RATES FOR RUBBER RINGS TO SUIT R.C.C. S/S PIPES
Code No. | Description
1 | 2
MANUFACTURE, SUPPLY AND DELIVERY OF RUBBER RINGS TO SUIT R.C.C. SOCKET AND SPIGOT PIPES CONFORMING TO B.I.S. 5382/ 1985 AT EX-FACTORY (RATE PER EACH RUBBER RING) INCLUDING TRANSPORTATION BUT EXCLUDING TAXES & DUTIES.
| Size | Unit | S S Rates for 2004-2005
|  |  | NP - 2 Class | NP - 3 Class | NP - 4 Class
| 80 mm dia |  | 10
| 100 mm dia |  | 12
| 150 mm dia |  | 21
| 200 mm dia |  | 25
| 225 mm dia |  | 27
| 250 mm dia |  | 31
| 300 mm dia |  | 38
| 350 mm dia |  | 44 | 58 | 58
| 400 mm dia |  | 48 | 66 | 66
| 450 mm dia |  | 55 | 75 | 75
| 500 mm dia |  | 72 | 86 | 86
| 600 mm dia |  | 94 | 125 | 125
| 700 mm dia |  | 129 | 150 | 150
| 800 mm dia |  | 163 | 182 | 182
| 900 mm dia |  | 204 | 246 | 246
| 1000 mm dia |  | 239 | 297 | 297
| 1100 mm dia |  | 288 | 380 | 380
| 1200 mm dia |  | 460 | 478 | 478
| 1400 mm dia |  | 506 | 526 | 526
| 1600 mm dia |  | 630 | 642 | 642
| 1800 mm dia |  | 785 | 820 | 820
| Size |  | P1 - Class | P2 - Class | P3 - Class
| 80 mm dia | Each | 10 | 10 | 10
| 100 mm dia | Each | 12 | 13 | 13
| 150 mm dia | Each | 21 | 21 | 21
| 200 mm dia | Each | 25 | 25 | 25
| 225 mm dia | Each | 27 | 28 | 29
| 250 mm dia | Each | 31 | 32 | 33
| 300 mm dia | Each | 38 | 40 | 42
| 350 mm dia | Each | 44 | 51 | 55
| 400 mm dia | Each | 48 | 66 | 68
| 450 mm dia | Each | 55 | 76 | 78
| 500 mm dia | Each | 72 | 86 | 90
| 600 mm dia | Each | 94 | 108 | 107
| 700 mm dia | Each | 129 | 142 | 150
| 800 mm dia | Each | 163 | 180 | 18
| 900 mm dia | Each | 204 | 228
| 1000 mm dia | Each | 239 | 275
| 1100 mm dia | Each | 288
| 1200 mm dia | Each | 460

## 3-RCC-S
RATES FOR R.C.C. S/S PIPES
Code No. | Description
1 | 2
MANUFACTURE, SUPPLY AND DELIVERY OF R.C.C. SOCKET AND SPIGOT PIPES CONFORMING TO B.I.S. 458/1988 AT EX-FACTORY (RATE PER METER OF EFFECTIVE LENGTH) INCLUDING TRANSPORTATION BUT EXCLUDING TAXES & DUTIES.
| Size | Unit | S S Rates for 2004-2005
|  |  | NP - 2 Class | NP - 3 Class | NP - 4 Class
| 80 mm dia | Meter | 73.27
| 100 mm dia | Meter | 80.84
| 150 mm dia | Meter | 97.9
| 200 mm dia | Meter | 119.37
| 225 mm dia | Meter | 130.11
| 250 mm dia | Meter | 138.96
| 300 mm dia | Meter | 194.95
| 350 mm dia | Meter | 250 | 598 | 609
| 400 mm dia | Meter | 276.65 | 663 | 675
| 450 mm dia | Meter | 344 | 732 | 738
| 500 mm dia | Meter | 396 | 837 | 909
| 600 mm dia | Meter | 558 | 1173 | 1208
| 700 mm dia | Meter | 723 | 1497 | 1749
| 800 mm dia | Meter | 927 | 1980 | 2286
| 900 mm dia | Meter | 1170 | 2488 | 2871
| 1000 mm dia | Meter | 1419 | 2818 | 3600
| 1100 mm dia | Meter | 1668 | 3324 | 4158
| 1200 mm dia | Meter | 1893 | 3921 | 4866
| 1400 mm dia | Meter | 2688 | 5193 | 6897
| 1600 mm dia | Meter | 3325 | 6738 | 8313
| 1800 mm dia | Meter | 3745 | 8928 | 11148
|  |  | P1 - Class | P2 - Class | P3 - Class
| 80 mm dia | Meter | 87.07 | 98.11 | 111.73
| 100 mm dia | Meter | 98.73 | 117.22 | 136.22
| 150 mm dia | Meter | 135.64 | 175.58 | 215.55
| 200 mm dia | Meter | 157.81 | 226.14 | 298.65
| 225 mm dia | Meter | 177.76 | 256.91 | 333.21
| 250 mm dia | Meter | 194.54 | 275.99 | 351.02
| 300 mm dia | Meter | 262.87 | 397.32 | 495.72
| 350 mm dia | Meter | 327.06 | 551.07 | 714.84
| 400 mm dia | Meter | 387.81 | 649.85 | 942.27
| 450 mm dia | Meter | 417.54 | 864 | 1163.22
| 500 mm dia | Meter | 552 | 942.48 | 1325.68
| 600 mm dia | Meter | 756 | 1404.26 | 1845.15
| 700 mm dia | Meter | 1005 | 1854 | 2350.52
| 800 mm dia | Meter | 1259 | 2213.92 | 2849.7
| 900 mm dia | Meter | 1521 | 2612.45
| 1000 mm dia | Meter | 1914 | 2994.11
| 1100 mm dia | Meter | 2295
| 1200 mm dia | Meter | 2697

## 2-RCC-COLLARS
RATES FOR R.C.C. COLLARS
Code No. | Description
1 | 2
MANUFACTURE, SUPPLY AND DELIVERY OF R.C.C. COLLARS CONFORMING TO B.I.S. 458/1988 AT EX-FACTORY (RATE PER EACH COLLAR) INCLUDING TRANSPORTATION BUT EXCLUDING TAXES & DUTIES SUITABLE FOR THE R.C.C. PLAIN ENDED PIPES
| Size | Unit | S S Rates for 2004-2005
|  |  | NP - 2 Class | NP - 3 Class | NP - 4 Class
| 80 mm dia | Each | 14.5
| 100 mm dia | Each | 15.7
| 150 mm dia | Each | 16.31
| 200 mm dia | Each | 21.61
| 225 mm dia | Each | 23.7
| 250 mm dia | Each | 25.68
| 300 mm dia | Each | 33.82
| 350 mm dia | Each | 41.67 | 59 | 59
| 400 mm dia | Each | 45.08 | 67.1 | 67.1
| 450 mm dia | Each | 71.5 | 89.2 | 89.2
| 500 mm dia | Each | 82 | 106 | 106
| 600 mm dia | Each | 109 | 140 | 140
| 700 mm dia | Each | 142.5 | 188 | 188
| 800 mm dia | Each | 200 | 238 | 238
| 900 mm dia | Each | 240 | 278 | 278
| 1000 mm dia | Each | 280 | 348 | 348
| 1100 mm dia | Each | 343 | 440 | 440
| 1200 mm dia | Each | 417 | 551 | 551
| 1400 mm dia | Each | 538 | 698 | 698
| 1600 mm dia | Each | 686 | 895 | 895
| 1800 mm dia | Each | 713 | 1153 | 1153

## 1-RCC-PLAIN
PUBLIC HEALTH (PIPES AND SPECIAL)
RATES FOR R.C.C. PLAIN ENDED PIPES
Code No. | Description
1 | 2
MANUFACTURE, SUPPLY AND DELIVERY OF R.C.C. PLAIN ENDED PIPES CONFORMING TO B.I.S. 458/1988 AT EX-FACTORY EXCLUDING TRANSPORTATION, TAXES & DUTIES
| Size | Unit | S S Rates For 2004-2005
|  |  | NP - 2 Class | NP - 3 Class | NP - 4 Class
| 80 mm dia | Meter | 53.15
| 100 mm dia | Meter | 61.72
| 150 mm dia | Meter | 72.77
| 200 mm dia | Meter | 86.04
| 225 mm dia | Meter | 94.18
| 250 mm dia | Meter | 100.37
| 300 mm dia | Meter | 144.34
| 350 mm dia | Meter | 179.58 | 406 | 414.3
| 400 mm dia | Meter | 207.27 | 449.3 | 458.9
| 450 mm dia | Meter | 254 | 514 | 519
| 500 mm dia | Meter | 279 | 589 | 641
| 600 mm dia | Meter | 412.37 | 839 | 994
| 700 mm dia | Meter | 528.56 | 1042 | 1331
| 800 mm dia | Meter | 649.54 | 1377 | 1739
| 900 mm dia | Meter | 816.88 | 1729 | 2165
| 1000 mm dia | Meter | 992.66 | 2147.4 | 2957.4
| 1100 mm dia | Meter | 1180 | 2532 | 3428
| 1200 mm dia | Meter | 1405.32 | 2982 | 4007
| 1400 mm dia | Meter | 1912 | 3854 | 5544
| 1600 mm dia | Meter | 2061 | 5000 | 6674
| 1800 mm dia | Meter | 2906 | 6626 | 8947
Note : All the prices are ex-works, Excise duty, CST/APGST extra as applicable at the time of supply