## buildings items
BUILDING ITEMS
S.No | Details | Unit | S S Rate for 2004-05
1 | 2 | 3 | 4
IV . RATES OF MATERIALS
(A) BRICKS & TILE PRODUCTS
1 | Bricks second class or ground moulded (Non-Modular or traditional size) 23 x 11 x 7 cm | 1000 Nos | 1250
2 | - do- modular size 19 x 9 x 9 cm | 1000 Nos | 1300
3 | Bricks country (Non-modular tradditional size) 22 x 11 x 5 cm | 1000 Nos | 900
Flyash lime solid blocks with compressive strength of 100 kg/sq.cm
4 | 290 x 225 x 140 mm | Each | 7.7
5 | 290 x 200 x 140 mm | Each | 6.6
6 | 290 x 122 x 140 mm | Each | 4.4
7 | 290 x 100 x 140 mm | Each | 3.7
8 | 225 x 100 x 60 mm | Each | 1.6
9 | 145 x 225 x 140 mm | Each | 4.4
10 | 145 x 200 x 140 mm | Each | 3.3
Flyash lime solid blocks with compressive strength of 50 kg/sq.cm
11 | 290 x 225 x 140 mm | Each | 6.6
12 | 290 x 200 x 140 mm | Each | 5.5
13 | 290 x 122 x 140 mm | Each | 3.3
14 | 290 x 100 x 140 mm | Each | 2.8
15 | 225 x 100 x 60 mm | Each | 1.2
16 | 145 x 225 x 140 mm | Each | 3.3
17 | 145 x 200 x 140 mm | Each | 3
18 | Cynder | 1 Cum | 230
Supply of ‘AEROCON’ HQ building Blocks & ‘COMFORTILE-Thermal Roof Tile’ (‘Ex-factory price) including all taxes.
A. AEROCON – HQ BUILDING BLOCKS
19 | 600 x 200 x 75 mm | Each | 23
20 | 600 x 200 x 100 mm | Each | 31
21 | 600 x 200 x 125 mm | Each | 37
22 | 600 x 200 x 150 mm | Each | 43
23 | 600 x 200 x 200 mm | Each | 58
24 | 600 x 200 x 230 mm | Each | 67
B. COMFORTILE -Thermal Roof Tile
25 | 300 x 200 x 50 mm | Each | 9
Supply & fixing of AEROCON PANELS
26 | Supply & fixing of 50mm thick Aerocon sandwich Panels having Tongue and Groove joint for partitions and walls using G.I. Flooring & Ceiling channels, hardware, Labour, transportation, wastages, etc.,as a complete item of work excluding finishings, fittings & fixtures. | Sqm. | 850
27 | Supply & fixing of 75mm thick Aerocon sandwich Panels having Tongue & groove joint for partitions And walls using G.I. Flooring & Ceiling channels, hardware, Labour, transportation, wastages, etc.,As a complete item of work Excluding finishings, fittings & fixtures | Sqm. | 950
AEROCON PANELS
28 | 50mm thick x 600mm standard width x 2400mm, 2700mm & 3000mm lengths | Sqm. | 600
29 | 75mm thick x 600mm standard width x 2400mm, 2700mm & 3000mm lengths | Sqm. | 800
CUDDAPAH/SHAHABAD STONES
30 | Cuddapah/Shahabad slab 40 mm thick not less than 0.457 M x 0.457 M | 1 Sqm | 84
31 | Cuddapah/Shahabad slab 50 mm thick not less than 0.457 M x 0.457 M | 1 Sqm | 94
Shahabad Stone slab of Tandur 25.4 mm thick
32 | White | 10 Sqm | 630
33 | Blue | 10 Sqm | 680
Shahabad Stone slab of Tandur 50.8 mm thick
34 | White | 10 Sqm | 720
35 | Blue | 10 Sqm | 820
Polished Shabad stone slab 25.4mm thick (0.457 x 0.457M)
36 | White | 10 Sqm | 1225
37 | Blue | 10 Sqm | 1550
38 | Polished black cuddapah slabs 25.4 mm thick (0.457x 0.457M) | 10 Sqm | 1155
39 | Bethamcherla Stone 25.4 mm thick (0.254M x0.254M) white | 10 Sqm | 3025
40 | Bethamcherla Stone 25.4 mm thick (0.254M x0.254M) colour | 10 Sqm | 3225
41 | High Polished Granite 18 to 20 mm thick up to 8'-00 (2.43 M) other than black | 1Sqm | 1470
42 | High Polished Granite 16 to 18 mm thick up to 8'-00 (2.43 M) other than black | 1Sqm | 1350
43 | High Polished Granite 18 to 20 mm thick up to 8'-00 (2.43 M) black | 1Sqm | 1260
44 | High Polished Granite 16 to 18 mm thick up to 8'-00 (2.43 M) black | 1Sqm | 1140
45 | Rounding the edges of cuddapah Slabs and Shahabad stone slabs & Marble slabs including polishing the same. | 1 Rm | 25
46 | Rounding the edges of Granite slabs including polishing the same. | 1 Rm | 75
47 | Flat nosing to Cuddapah slabs and Shahabad stone slabs 40mm thick | 1 Rm | 3.6
48 | Flat nosing to Cuddapah slabs and Shahabad stone slabs 50mm thick | 1 Rm | 4.2
49 | Flat nosing to Cuddapah slabs and Shahabad stone slabs 60mm thick | 1 Rm | 5.3
50 | Flat nosing to Cuddapah slabs and Shahabad stone slabs 75mm thick | 1 Rm | 6
FLOORING SLABS/ TILES
51 | Dongari Adanga marble slab polished 18 mm to 20 mm (average ) thick (size 0.457 M x 0.457 M)/ (0.6M x 0.6M) | 1 sqm | 450
52 | Dongari Adanga marble slab polished 16 mm to 20 mm (average ) thick (size 0.457 M x 0.457 M)/ (0.6M x 0.6M) | 1 sqm | 400
53 | Dongari Adanga marble slab polished 18 mm to 20 mm (average ) thick 0.305 M x 0.305 M | 1 sqm | 375
54 | Dongari Adanga marble slab polished 16 mm to 20 mm (average ) thick 0.305 M x 0.305 M | 1 sqm | 325
55 | Dongari Adanga marble slab polished 18 mm to 20 mm (average ) thick ( 0.610 M width of any length). | 1 sqm | 600
56 | Dongari Adanga marble slab polished 16 mm to 20 mm (average ) thick ( 0.610 M width of any length) | 1 sqm | 550
57 | Marble Tiles polished 8 mm thick | 1 sqm | 260
58 | Cutting marble slabs upt o 50 mm thick by mechanical device. | 1 RM | 5
59 | Granite stone tiles 8 mm thick ( mirror polished of all shades) | 1 sqm | 560
60 | Ceramic tiles 7.3mm thick 1st quality of all shades ( as per manufacture specification) | 1 sqm | 300
61 | Chequrred Terrazo tiles of 22 mm thick ( Medium shade) 0.254 M x 0.406 M | 1 sqm | 175
62 | Chequrred Terrazo tiles of 22 mm thick (Dark shade) 0.254 M x 0.406 M | 1 sqm | 160
63 | Chequrred Terrazo tiles of 30 mm thick ( Light shade) 0.305 M x 0.305 M | 1 sqm | 160
64 | Chequrred Terrazo tiles of 30 mm thick (Dark shade) 0.305 M x 0.305 M | 1 sqm | 170
65 | Chequrred Terrazo tiles of 30 mm thick ( medium shade) 0.305 M x 0.305 M | 1 sqm | 150
66 | Decorated white background glazed tiles 200 mm x 152 mm | 1 sqm | 368
67 | Decorated coloured background glazed tiles 200 mm x 300 mm | 1 sqm | 411
68 | Fantasy Glazed Tiles size 200mm x152 mm | 1 sqm | 389
69 | White glazed Tiles of any size Ist quality | 1 sqm | 225
70 | Glazed coloured Tiles of any size Ist Quality | 1 sqm | 266
71 | Precast Terrazo Tiles 20 mm thick ( Medium shade) | 1 sqm | 190
72 | Precast Terazo Tiles 20 mm thick (dark shade) | 1 Sqm | 185
73 | Supply & Fixing precast Terrazo Tiles Marbleite in white & colour vains 20 mm thcik | 1 Sqm | 200
74 | a) Fixing charges only | 1 Sqm | 16.5
75 | b) Polishing charges only | 1 Sqm | 22
76 | c) Wax polishing charges only. | 1 Sqm | 13.5
77 | Supply & Fixing precast Terrazo Tiles Marbleite in white tiles 20 mm thcik | 1 Sqm | 155
78 | a) Fixing charges only | 1 Sqm | 16.5
79 | b) Polishing charges only | 1 Sqm | 22
80 | c) Wax polishing charges only. | 1 Sqm | 13.5
81 | Supply & fixing Terrazo tiles 20 mm thick grey tiles | 1 Sqm | 90
82 | a) Fixing charges only | 1 Sqm | 16.5
83 | b) Polishing charges only | 1 Sqm | 22
84 | c) Wax polishing charges only. | 1 Sqm | 13.5
Supply & fixing of Crazy Marble flooring
85 | Marble powder | 1 Kg | 1.9
86 | Marble chips | 1 Sqm | 325
87 | Mosaic chips | 1 Sqm | 1837
88 | Grinding, Polishing, electricity charges | 1 Sqm | 64.5
89 | Vitrified polished floor tiles 800x 800x10 mm thickness premium type 1st quality | 1 Sqm | 1130
90 | Vitrified polished floor tiles 600x 600x 8mm thickness premium colour 1st quality. | 1 Sqm | 800
91 | Vitrified polished floor tiles 600x 600x 8mm thickness normal colour 1st quality. | 1 Sqm | 700
92 | Vitrified polished floor tiles 400x 400x 7mm thickness normal colour 1st quality. | 1 Sqm | 650
93 | Providing Bisazza glass Tiles Group 1 series or equivalent quality 20 x 20x4 mm thick to be aplied on sponge finish using laucratic 290 thin set polymer based adhesive. | 1 Sqm | 1292
(C ) TIMBER AND ROOFING MATERIALS
TEAK WOOD
94 | Teak wood scantlings below 2 meters First class | 1 cum | 52000
95 | Teak wood scantlings below 2 meters Second class | 1 cum | 42000
96 | Teak wood scantlings above 2 meters First class | 1 cum | 54000
97 | Teak wood scantlings above 2 meters Second class | 1 cum | 44000
98 | Teak wood planks of all sizes First Class | 1 cum | 57000
99 | Teak wood Planks of all sizes second class. | 1 cum | 47000
100 | Burma Teak Wood Scantlings below 2 meters | 1 cum | 62000
101 | Burma Teak wod Scantings above 2 meters | 1 cum | 64270
102 | Burma Teak wood planks 0.150 M to 1 m | 1 cum | 77700
103 | Assam Teak Wood frames | 1 cum | 22950
104 | Assam Teak Wood Planks | 1 cum | 28000
105 | Sal Wood Frames | 1 cum | 22950
106 | Sal Wood Planks | 1 cum | 28000
107 | Corrugalated Galvanized iron sheets (1 mm thickness) | 1 Sqm | 184
108 | Plain Galvanized Iron sheets | 1 Sqm | 121
109 | Country Nails | 1 Kg | 21
110 | Wire Nails | 1 Kg | 21
111 | Labour charges for petty Iron work for truss straps etc., wrought & plut up (lahour only) | 1 Kg | 6
112 | labour for fabrication of reinforcement including bending and placing at site in position including cost of binding wire | 1 Kg | 4
Galvanized Steel Barbed wire
113 | I.O.A. 12 Gauge | 1 Kg | 22
114 | I.O.A. 14 Gauge | 1 Kg | 21
115 | Supply & fixing of Rolling shutter made of 80 x 1.25 mm machine rolled laths (rate includes top cover bearings, and locking arrangements etc. ) | 1 Sqm | 1200
116 | Supplying & fixing collapsable steel shutters with verticle, double channel of 20 x10x2 mm of 100 mm center Bracers with flat iron 40x40x6 mm with 38 mm dia steel plully with all fixtures and furniture as per special spn. 1105 | 1 Sqm | 1000
(D) DOOR FITTINGS
1) TOWR BOLTS AS PER IS 204
BRASS
117 | 100 mm Long | Each | 39
118 | 150 mm Long | Each | 58
119 | 200 mm Long | Each | 78
120 | 250 mm Long | Each | 97
121 | 300 mm Long | Each | 119
ALLUMINIUM
122 | 75 MM Long | Each | 27
123 | 100 mm Long | Each | 32
124 | 150 mm Long | Each | 39
125 | 200 mm Long | Each | 49
126 | 250 mm Long | Each | 58
127 | 300 mm Long | Each | 68
MILD STEEL (POWDER COATED)
128 | 100 mm Long | Each | 10
129 | 150 mm Long | Each | 15
130 | 200 mm Long | Each | 21
131 | 250 mm Long | Each | 29
132 | 300 mm Long | Each | 36
2) BUTT HINGES AS PER IS : 205
BRASS
133 | 75 MM Long | Each | 17
134 | 100 mm Long | Each | 54
135 | 125 mm Long | Each | 65-00
136 | 150 mm Long | Each | 86-00
ALLUMINIUM
137 | 75 MM Long | Each | 38
138 | 100 mm Long | Each | 46
139 | 125 mm Long | Each | 54
140 | 150 mm Long | Each | 54
MILD STEEL (POWDER COATED)
141 | 75 mm Long | Each | 5
142 | 100 mm Long | Each | 9
143 | 125 mm Long | Each | 13
144 | 150 mm Long | Each | 18
3) DOOR HANDLES AS PER IS:208
ALLUMINIUM
145 | 75 mm Long | Each | 25
146 | 100 mm Long | Each | 29
147 | 125 mm Long | Each | 43
148 | 150 mm Long | Each | 48
MILD STEEL (POWDER COATED)
149 | 125 mm Long | Each | 13
150 | 150 mm Long | Each | 19
ALDROPS AS PER IS:2681
BRASS
151 | 300 mm long | Each | 351
ALLUMINIUM
152 | 200 mm long | Each | 113
153 | 250 mm long | Each | 135
154 | 300 mm long | Each | 146
MILD STEEL (POWDER COATED)
155 | 200 mm long | Each | 45
156 | 250 mm long | Each | 59
157 | 300 mm long | Each | 70
5)FLAT LATCHES
BRASS
158 | Door Stopers | Each | 70
159 | Windows Stay | Each | 80
ALLUMINIUM
160 | 200 mm long | Each | 54
161 | 250 mm long | Each | 62
162 | 300 mm long | Each | 65
MILD STEEL (POWDER COATED)
163 | 250 mm long | Each | 22
164 | 300 mm long | Each | 28
165 | Door Stopers | Each | 19
166 | Supply & fixing droppery rods (25.4 mm) 1" x 21 G Powder coated with PVC rings | Rft | 15
167 | Supply & fixing droppery bracket - brass powder coated | pair | 175
168 | Brass Aldrop heavy duty 350 mm | Each | 675
169 | Brass Aldrop heavy duty 450 mm | Each | 961
170 | Alluminium Aldrop 350 mm ISI marked IS 204 | Each | 184
171 | Alluminium Aldrop 450 mm ISI marked IS 204 | Each | 233
172 | Delux window stay alluminium | Each | 50
173 | Heavy duty alluminium Door stopper | Each | 21
174 | Brass fancy handles 150 mm | Each | 119
175 | Brass fancy handles 200 mm | Each | 162
176 | Brass fancy handles 250 mm | Each | 292
177 | Brass fancy handles 300 mm | Each | 373
178 | Brass fancy handles 450 mm | Each | 583
179 | Door closer automatic hyper brand IS 3564 | Each | 488
180 | Double action brass plate floor spring Hyper brand IS 6315 | Each | 674
181 | Floor spring Ist Quality for Aluminium door | Each | 1188
182 | Heavy duty mortice lock 6/7 levers with PC or CP handles complete set | Each | 302
183 | Heavy duty mortice lock 6/7 levers with brass heavy handles | Each | 1053
184 | Brass latch heavy 300 mm | Each | 221
185 | Brass latch heavy 350 mm | Each | 254
186 | Brass latch heavy 450 mm | Each | 335
187 | Friction stay hinges for windows | Each | 45
188 | Keyless lockset for toilet with CP or PC handles (complete set) | Each | 130
189 | Keyless lock set for toilet with brass handles | Each | 346
(E) MISCELLANEOUS ITEMS
190 | Alluminium sheet 24 Gauge | 1 Sqm | 167
Alluminium strips
191 | Alluminium Strip 40 mm wide and 2 mm thick | 1 Kg. | 116
192 | Alluminium plain strip edging 38x12x3 mm | Metre | 37
193 | Alluminium plain strip edging 57x12x3 mm | Metre | 53
194 | Alluminium strips 10 mm | 1 Kg. | 105
195 | Alluminium Strips 25 mm | 1 Kg. | 105
196 | Alluminium Stips 38 mm wide and 1.6 mm thick. | 1 Kg. | 105
197 | 7.5mm thick Alluminium Grill (as approved by the department) 3.58 Kg/Sq.m. | 1 Sqm | 615
198 | Supply & fixing MS/CI grills of any design | 1 Kg. | 30
199 | Mastic pad 2'0 " x 4'0" (0.60M x 1.2M) of 1" (25.4 mm ) thick | 1 Sqm | 491
200 | Mastic pad 2'0 " x 4'0" (0.60M x 1.2M) of 1/2" (12.7 mm ) thick | 1 Sqm | 281
201 | Expanded metal Jally 3/4" (19.05 mm ) size | 1 Sqm | 76
202 | GI (M.S) fly proof wire mesth 16 x 20 guage | 1 Sqm | 103
203 | SS fly proof mesh | 1 Sqm | 250
204 | Chain link mesh 8 guage 2" x2" (50.8 mm x 50.8 mm) | 1 Sqm | 119
205 | Chain link mesh 8 guage 3" x 3" (76.2 mm x 76.2 mm) | 1 Sqm | 81
206 | Chain link mesh 8 guage 4"x4" (101.6 mm x 101.6 mm) | 1 Sqm | 69
207 | Rabbit wire mesh (chicken mesh) | 1 Sqm | 8
208 | Providing Tarfelting roof repairs | 1 Sqm | 105
Note :a) Duly applying one coat of bitumenous
b) Applying 1 coat of appropriate grade of hot bitumen at 1.2 Kg/1Sqm of roof area
c)Fixing tarfelt (Manufactures to IS 1322/1972 specification)
d) Applying second coat of appropriate grade of hot bitumen at 1.20 Kg/1Sqm of roof area
e)Spreading course aggregate (sand ) at 0.063 cum per 1 Sqm of surface area of roof.
209 | Supply, laying & fixing of 60mm thick cement Mosaic reflective concrete pavers from "Super decorative floorings" make of grade M-40 and above including labour charges, loading & unloading, laying to desired lines and levels complete. However cement, sand, water, electricity etc shall be provided by you free of cost at site. | Sqm. | 538
210 | Supply, laying & fixing of 30mm thick cement Mosaic reflective concrete pavers from "Super decorative floorings" make of grade M-40 and above including labour charges, loading & unloading, laying to desired lines and levels complete. However cement, sand, water, electricity etc shall be provided by you free of cost at site. | Sqm. | 484
WATER PROOFING & CONSTRUCTION CHEMICALS AND EPOXIES
Any company make As per I.SI. Standards, First Quality Rate (exfactory ) including all taxes
A) Concrete Admixtures and Plasticisers
Conflow SNP1 OR EQUIVALENT.
211 | Pack size 1 Ltr | Ltr | 35.7
Conflow SNP 20 OR EQUIVALENT
212 | Pack size 1 Ltr | Ltr | 45
Conflow SNPA OR EQUIVALENT.
213 | Pack size 1 Ltr | Ltr | 58.7
B) Super Plasticisers
Conflow SNSI OR EQUIVALENT.
214 | Pack size 1 Ltr | Ltr | 45
Conflow SNS2 OR EQUIVALENT.
215 | Pack size 1 Ltr | Ltr | 45
Accelerating Plasticisers
Conflow SNA OR EQUIVALENT.
216 | Pack size 1 Ltr | Ltr | 56
Retarding Plasticisers
Conflow SNR OR EQUIVALENT.
217 | Pack size 1 Ltr | Ltr | 35.7
Air Entraining Agents
Conflow SNE OR EQUIVALENT.
218 | Pack size 1 Ltr | Ltr | 35.7
Retarding super Plasticisers
Conflow SNS3 SPL OR EQUIVALENT
219 | Pack size 1 Ltr | Ltr | 45
Conflow SNS3 OR EQUIVALENT
220 | Pack size 1 Ltr | Ltr | 58.7
Mortar Plasticisers
Morflow SN1 OR EQUIVALENT
221 | Pack size 1 Ltr | Ltr | 17
Integral Water Proofing compounds
Conflow SNW1 OR EQUIVALENT
222 | Pack size 1 Ltr | Ltr | 51.85
Conflow SNW2 OR EQUIVALENT
223 | Pack size 25 Kg | Kg | 7.7
224 | Pack size 750 Gms | Pack | 9.4
Block Admixtures
Conflow SNB OR EQUIVALENT
225 | Pack size 1 Ltr | Ltr | 17.9
Sprayed Concrete Accelerators
Shotset SN1 OR EQUIVALENT
226 | pack size 250 Kg. | Kg | 17.9
B) Concrete surface Treatments curing compounds
CURAID SN1 OR EQUIVALENT
227 | Pack size 1 Ltr | Ltr | 45
CURAID SN2 OR EQUIVALENT
228 | Pack size 1 Ltr | Ltr | 46.8
Formwork & Mould Treatment
Shutterol SNU OR EQUIVALENT
229 | Pack size 1 Ltr | Ltr | 45.1
Cleaning Agents
Uniklen SN1 OR EQUIVALENT
230 | Pack size 1 Ltr | Ltr | 18.7
Uniklen SN2 OR EQUIVALENT
231 | Pack size 1 Ltr | Ltr | 41.7
Uniklen SN3 OR EQUIVALENT
232 | Pack size 1 Ltr | Ltr | 99.5
C)Free flow - Non shrink Grounts
Pre - Packed Cementitious Grouts
Expacrete SN 50 OR EQUIVALENT
233 | Pack size 25 Kg | Kg | 7.7
Expacrete SN 70 OR EQUIVALENT
234 | Pack size 25 Kg | Kg | 9.4
Expacrete SN 90 OR EQUIVALENT
235 | Pack size 25 Kg | Kg | 14.5
Expacem SN 2 OR EQUIVALENT
236 | Pack size 250 gm | pack | 22
Epoxy Resin Grouts
Expacrete SNE 1 OR EQUIVALENT
237 | Pack size 1 Kg | Kg | 472.5
Expacrete SNE 3 OR EQUIVALENT
238 | Pack size 15 Kg | pack | 1800
Polyster Resin Grouts
Anchrset SN1 OR EQUIVALENT
239 | Pack size 1 Kg | pack | 112.5
Anchrset SN2 OR EQUIVALENT
240 | Pack size 10 Kg | pack | 1057.5
D) Industrial Flooring systems
Floor Hardeners
Flortop SNC OR EQUIVALENT
241 | pack size 25 Kg | Kg | 17.9
Floor top SNS OR EQUIVALENT
242 | Pack size 25 Kg. | Kg | 11
Expoxy Floor coating & protective coatings
Procoat SNF or Equivalent
243 | Pack size 1 Kg | Pack | 373.5
Procoat SNS or Equivalent
244 | Pack size 1 Kg | Pack | 310.5
Essenputty SNE or Equivalent
245 | pack size 1 Kg | Pack | 189
Procoat SNZ or Equivalent
246 | Pack size 1 Ltr | Pack | 450
Procoat SNL or Equivalent
247 | Pack size 2.5 Kg. | Pack | 652.5
Epoxy Self Levelling (Flooring system)
Flortop SNSL or Equivalent
248 | Pack size 14 Kg | Pack | 2610
Flortop SNSL (SPL) or Equivalent
249 | Pack size 14 Kg | Pack | 1989
Heavy Duty Epoxy Base (Flooring system)
Flortop SNM or Equivalent
250 | Pack size 16 Kg | Pack | 1057.5
Flortop SNFM or Equivalent
251 | Pack size 16 Kg | Pack | 810
Epoxy resin primer
Florcoat SNP or Equivalent
252 | Pack size 1 Kg | Pack | 450
Procoat SNC or Equivalent
253 | pack size 3 Kg | Pack | 747
Procoat SNP or Equivalent
254 | pack size 1 Kg | Pack | 436.5
Procoat SNP2 or Equivalent
255 | pack size 3 Kg | Pack | 783
E) Repair Products
Repcrete SNC or Equivalent
256 | Pack size 25 Kg | Kg | 11
Repcrete SNE1 or Equivalent
257 | Pack size 16 kg | Pack | 1242
Repcrete SNW Primer or Equivalent
258 | Pack size 1 Kg | Pack | 621
Repcrete SNW Mortor or Equivalent
259 | Pack size 1 Kg | Pack | 175.5
Uniplug SN or Equivalent
260 | pack size 5 Kg | Kg | 23.8
F) Water Proffing Systems
Aquacoat SNF or Equivalent
261 | Pack size 15+5 Kg | Pack | 1368
Water Repellants
Aquarepel SN1 or Equivalent
262 | Pack size 1 Ltr | Ltr | 42.5
G) Adhesive Tile Adhesives
Tilegrip SNU or Equivalent
263 | Pack size 15 Kg | Kg | 14.5
Bonding Adhesives
Conbond SNA or Equivalent
264 | Pack size 1 Ltr | Ltr | 189
Conbond SNE or Equivalent
265 | Pack size 1 Kg | Pack | 517.5
Note: Literature for usage / application of above construction /water proofing materials, epoxies etc, will be obtained from manufacturers.
BITUMINOUS HOT SEALING COMPOUND
266 | Grade 'A' I.S.I excluding 16 % Tax | 1 Kg | 16
267 | Bitumen solution primer of aproved quality excluding 16 % tax | 1 Kg | 26
268 | Tar Felt Type - 2 Grade - 1 | 1 sqm | 47
GLASS
269 | Plain Glass 4 mm thick | 1 sqm | 175
270 | Plain Glass 5 mm thick | 1 sqm | 240
271 | Tinted Glass 4 mm thick | 1 sqm | 330
272 | Tinted Glass 5 mm thick | 1 sqm | 440
273 | Pin headed Glass 4 mm thick | 1 sqm | 160
274 | Ground Glass 4 mm thick | 1 sqm | 230
275 | Ground Glass 5 mm thick | 1 sqm | 300
JALI (CEMENT CONCRETE)
276 | 25 mm thick | 1 sqm | 85
277 | 40 mm thick | 1 sqm | 110
278 | 50 mm thick | 1 sqm | 150
BRUSHES
279 | Wire Brush | Each | 20
280 | Soft Brush | Each | 90
DISTEMPERS
281 | Dry Powder Distemper | 1 Kg | 20
282 | Oil Bound Washable Distemper | 1 Kg | 50
POLISH
283 | French Spirit Polish | 1 Ltr | 90
284 | Wax Polish (Ready made) | 1 Kg | 180
285 | Putty for steel work | 1 Kg | 13
286 | Putty for wood work | 1 Kg | 28
287 | Malamine Polish including cost & labour charges | 1Sqm | 275
PAINTS (CONFORMING TO I.S.I)
288 | Alluminium paint Ist Grade | 1 Ltr | 180
289 | Anti Corrosive bitumen paint (Black ) grade1 | 1 Ltr | 275
290 | Red Oxide Primer Paint Grade -1 | 1 Ltr | 65
291 | Red Oxide Primer Paint Grade - II | 1 Ltr | 50
292 | Synthetic Enamel paints in all shades Grade - I | 1 Ltr | 125
293 | Synthetic Enamel paints in all shades Grade - II | 1 Ltr | 90
294 | Plastic Emulsion Paint Grade - I | 1 Ltr | 200
295 | Water proof Cement paint of Superior Quality | 1 Kg | 27
296 | White Lead | 1 Kg | 52
297 | Marble Powder | 1 Kg | 13
298 | Cement primer Grade -I | 1 Kg | 65
299 | Cement primer Grade -II | 1 Kg | 50
300 | Impervios Water Proofing compound | 1 Kg | 17
301 | Fevicol/Wood adhesive compound | 1 Kg | 110
302 | Wood Primer | 1 Ltr | 90
303 | Oil bound Distemper Primer. | 1 Ltr | 50
304 | Supplying and finishing (Altek or equivalent brand) to interior faces of new walls and ceiling of approved colour as per manufacturers specification including cost and conveyance of materials to site and labour charges such as preparing the wall, applying primary coat etc, complete for finished item of work. | 1 Sqm | 65
305 | Altek paint | 25 Kg | 290
306 | Trump | 1 Ltr | 120
307 | Snowcem or equivalent quality | 25 Kg | 800
308 | Surya Cem or equivalent quality | 25 Kg | 150
309 | Unitek Fine Grade or equivalent brand | 25kg | 240
310 | Supply and finishing of Unitek Fine Grade or equivalent brand with Superfine Grade to interior faces of new walls and ceiling of approved colour as per manufacturers specification including cost and conveyance of materials to site and labour charges such as preparing the wall, applying the primary coat etc., complete for finished item of work | 1sqm. | 92
312 | Unitek Superfine Grade or equivalent brand | 25kg | 260
313 | Supply and finishing of Unitek Superfine Grade or equivalent brand to interior faces of new walls and ceiling of approved colour as per manufacturers specification including cost and conveyance of materials to site and labour charges such as preparing the wall, applying the primary coat etc., complete for finished item of work | 1sqm. | 65
314 | Unitek Granito Grade or equivalent brand | 1kg | 1200
315 | Unitek Granito Grade or equivalent brand | 5kg | 5850
316 | Unitek Granito Grade or equivalent brand | 20kg | 23250
317 | Supply and finishing of Unitek Granito Grade or equivalent brand to interior faces of new walls and ceiling of approved colour as per manufacturers specification including cost and conveyance of materials to site and labour charges such as preparing the wall, applying the primary coat etc., complete for finished item of work | 1sqm. | 1180
318 | Unitek Superfine (Water resistant )Grade or equivalent brand | 25kg | 750
319 | Supply and finishing of Unitek Superfine(Water resistant)Grade or equivalent brand to interior and exterior faces of new walls and ceiling of approved colour as per manufacturers specification including cost and conveyance of materials to site and labour charges such as preparing the wall, applying the primary coat etc., complete for finished item of work | 1sqm. | 125
320 | Unitek Orient Grade or equivalent brand | 25kg | 980
321 | Supply and finishing of Unitek Orient Grade or equivalent brand to interior and exterior faces of new walls and ceiling of approved colour as per manufacturers specification including cost and conveyance of materials to site and labour charges such as preparing the wall, applying the primary coat etc., complete for finished item of work | 1sqm. | 180
322 | Unitek Antico Grade or equivalent brand | 25kg | 1040
323 | Supply and finishing of Unitek Antico Grade or equivalent brand to interior and exterior faces of new walls and ceiling of approved colour as per manufacturers specification including cost and conveyance of materials to site and labour charges such as preparing the wall, applying the primary coat etc., complete for finished item of work | 1sqm. | 165
BOARDS
Prelaminated particle Board
(One side choice colour and other side balancing white lamination)
A EXTERIOR (GRADE-I)
324 | 9 mm thick | 1 Sqm | 525
325 | 12 mm thick | 1 Sqm | 580
326 | 18 mm thick | 1 Sqm | 700
327 | 25 mm thick | 1 Sqm | 756
B. REGULAR (GRADE -II)
328 | 9 mm thick | 1 Sqm | 453
329 | 12 mm thick | 1 Sqm | 502
330 | 18 mm thick | 1 Sqm | 569
331 | 25 mm thick | 1 Sqm | 669
Prelaminated particle Board
(Both sides choice colour of same shade)
C. EXTERIOR (GRADE -I)
332 | 9 mm thick | 1 Sqm | 611
333 | 12 mm thick | 1 Sqm | 670
334 | 18 mm thick | 1 Sqm | 812
335 | 25 mm thick | 1 Sqm | 880
D. REGULAR (GRADE - II)
336 | 9 mm thick | 1 Sqm | 524
337 | 12 mm thick | 1 Sqm | 573
338 | 18 mm thick | 1 Sqm | 653
339 | 25 mm thick | 1 Sqm | 744
Particle Board (Exterior Grade ) (Bhutan or Equivalent)
A. Plain Particle Board
340 | 8 mm thick | 1 Sqm | 193
341 | 12 mm thick | 1 Sqm | 215
342 | 18 mm thick | 1 Sqm | 281
343 | 21.4 mm thick | 1 Sqm | 330
344 | 25 mm thick | 1 Sqm | 374
345 | 35 mm thick | 1 Sqm | 611
Melamine Faced prelaminated
B. Particle Board (Single Deco)
346 | 8 mm thick | 1 Sqm | 400
347 | 12 mm thick | 1 Sqm | 453
348 | 18 mm thick | 1 Sqm | 525
349 | 25 mm thick | 1 Sqm | 595
350 | 35 mm thick | 1 Sqm | 990
Melamine Faced prelaminated
C. Particle Board (Twin Deco)
351 | 8 mm thick | 1 Sqm | 460
352 | 12 mm thick | 1 Sqm | 525
353 | 18 mm thick | 1 Sqm | 608
354 | 25 mm thick | 1 Sqm | 673
355 | 35 mm thick | 1 Sqm | 1265
Particle Board (Interior Grade ) (Bhutan or Equivalent)
A. Plain Particle Board
356 | 6 mm thick | 1 Sqm | 154
357 | 8 mm thick | 1 Sqm | 165
358 | 10 mm thick | 1 Sqm | 182
359 | 12 mm thick | 1 Sqm | 193
360 | 18 mm thick | 1 Sqm | 237
361 | 21.4 mm thick | 1 Sqm | 281
362 | 25 mm thick | 1 Sqm | 297
363 | 35 mm thick | 1 Sqm | 517
Melamine Faced Prelaminated
B. Particle Board (Singel Deco)
364 | 8 mm thick | 1 Sqm | 352
365 | 10 mm thick | 1 Sqm | 373
366 | 12 mm thick | 1 Sqm | 394
367 | 18 mm thick | 1 Sqm | 453
368 | 25 mm thick | 1 Sqm | 512
Melamine Faced prelaminated
C. Particle Board (Twin Deco)
369 | 8 mm thick | 1 Sqm | 402
370 | 10 mm thick | 1 Sqm | 440
371 | 12 mm thick | 1 Sqm | 456
372 | 18 mm thick | 1 Sqm | 522
373 | 25 mm thick | 1 Sqm | 574
NATURAL COLOUR INSULATING BOARD
374 | 12 mm thick | 1 Sqm | 149
375 | 18 mm thick | 1 Sqm | 220
376 | 25 mm thick | 1 Sqm | 280
WHITE FACE INSULATING BOARD
377 | 12 mm thick | 1 Sqm | 182
378 | 18 mm thick | 1 Sqm | 259
379 | 25 mm thick | 1 Sqm | 231
380 | Extra for venered particle Board with commercial venerrring on both sides. | 1 Sqm | 88
381 | Venering on both sides with one side teak venered and other side commercial venered | 1 Sqm | 187
382 | Teak venering on both sides | 1Sqm | 292
383 | Particle Board 12 mm thick (Three Layer) | 1 Sqm | 231
PANELS
Plain particle Board (PPB) (Interioir Grade)
384 | 9 mm thick | 1 Sqm | 190
385 | 12 mm thick | 1Sqm | 211
386 | 15 mm thick | 1 Sqm | 239
387 | 18 mm thick | 1Sqm | 264
388 | 21.4 mm thick | 1 Sqm | 300
389 | 25 mm thick | 1Sqm | 318
Plain particle Board (PPB) (Exterior Grade)
390 | 9 mm thick | 1 Sqm | 253
391 | 12 mm thick | 1Sqm | 274
392 | 15 mm thick | 1 Sqm | 327
393 | 18 mm thick | 1Sqm | 357
394 | 21.4 mm thick | 1 Sqm | 413
395 | 25 mm thick | 1Sqm | 447
Prelaminated particle Board (OSL) (Interior Grade)
396 | 9 mm thick | 1 Sqm | 388
397 | 12 mm thick | 1Sqm | 418
398 | 15 mm thick | 1 Sqm | 461
399 | 18 mm thick | 1Sqm | 490
400 | 21.4 mm thick | 1 Sqm | 526
401 | 25 mm thick | 1Sqm | 550
Prelaminated particle Board (OSL) (Exterior Grade)
402 | 9 mm thick | 1 Sqm | 436
403 | 12 mm thick | 1Sqm | 490
404 | 15 mm thick | 1 Sqm | 524
405 | 18 mm thick | 1Sqm | 556
406 | 21.4 mm thick | 1 Sqm | 612
407 | 25 mm thick | 1Sqm | 647
Prelaminated particle Board (BSL) (Interior Grade )
408 | 9 mm thick | 1 Sqm | 440
409 | 12 mm thick | 1Sqm | 478
410 | 15 mm thick | 1 Sqm | 508
411 | 18 mm thick | 1Sqm | 544
412 | 21.4 mm thick | 1 Sqm | 612
413 | 25 mm thick | 1Sqm | 683
Prelaminated particle Board (BSL) (Exterior Grade)
414 | 9 mm thick | 1 Sqm | 488
415 | 12 mm thick | 1Sqm | 547
416 | 15 mm thick | 1 Sqm | 596
417 | 18 mm thick | 1Sqm | 657
418 | 21.4 mm thick | 1 Sqm | 686
419 | 25 mm thick | 1Sqm | 714
LAMINATED SHEETS (EQUIVALENT TO DECOLAM)
Glossy Finish
420 | 1.00 mm thick | 1 Sqm | 237
421 | 1.50 mm thick | 1Sqm | 341
422 | 1.80 mm thick | 1Sqm | 374
Mat Finish
423 | 1.00 mm thick | 1 Sqm | 253
424 | 1.50 mm thick | 1 Sqm | 352
425 | 1.80 mm thick | 1Sqm | 380
MEDIUM FIBRE BOARD INTERIOR GRADE (EQUIVALENT TO NUWUD)
426 | 6 mm thick | 1 Sqm | 242
427 | 8 mm thick | 1Sqm | 275
428 | 12 mm thick | 1 Sqm | 369
429 | 15 mm thick | 1Sqm | 468
430 | 18 mm thick | 1 Sqm | 523
431 | 25 mm thick | 1Sqm | 743
432 | 30 mm thick | 1 Sqm | 897
433 | 35 mm thick | 1Sqm | 979
MEDIUM FIBRE BOARD EXTREIOR GRADE (EQUIVALENT TO NUWUD)
434 | 6 MM Thick | 1 Sqm. | 331
435 | 8 MM Thick | 1 Sqm. | 385
436 | 12 MM Thick | 1 Sqm. | 509
437 | 15 MM Thick | 1 Sqm. | 640.5
438 | 18 MM Thick | 1 Sqm. | 716
439 | 25 MM Thick | 1 Sqm. | 955.4
440 | 30 MM Thick | 1 Sqm. | 1189.5
441 | 35 MM Thick | 1 Sqm. | 1405
PARTICLE BOARD CEILINGS
442 | Gypsum Board 0.595 M x 0.595 M 12.5 mm thick of IS 2095 -1992` | 1 Sqm | 176
443 | False ceiling with 12.5 mm Gypsum Board IS 2095 -1982 using Gyp steel section including installation and complete finish excluding painting. | 1 Sqm | 535
444 | Supply & fixing GVP board 0.595 x 0.595M 12.5mm thick tile using fine line grid system including installation and complete finished excluding painting | 1 Sqm | 593
Gypboard wall lining :
445 | Supply & fixing of Gypboard wall lining using 9.5/12.5 mm thick Gyp - board (cnforming to IS 2095-1982), fixing to Gypsteel GI channels of perimeter channel (20mm x30mm x27mm x0.55mm thick) and ceiling channels of (51.5 mm x 26mm x26mmx10.5mmx0.55mm thick) and fixing and finishing using joint compound and paper tapecomplete finish as per specification without painting. | 1 Sqm | 548
Gypboard plain false ceiling:
446 | Supply and fixing of Gypboard plain false ceiling using 12.5 mm thick Gypboard conforming to IS 2095 -1982, fixing to Gypsteel GI channels frame work using perimeter channel (20mm x30mmx27mmx0.55mm) Intermediate channels (45mm x15mmx15mmx0.9mm) and ceiling channels (51.5 mm x26mm x10.5mm x 0.55 mm thick) jointing and finishing using joint compound and paper tape complete finish as per specification without painting | 1 Sqm | 603
Gypboard (fine line) Grid suspended ceiling
Supply and fixing of Gypboard (conforming to IS 2095-1982 ) FALSE CEILING WITH FINE LINE EXPOSED Grid suspended ceiling system using pre-coated galvanized steel main "T" section (24x38x0.35 mm thick x 3600 mm) Cross "T" (24x38x0.35mm x 600mm)and wall angle of (24x24x0.8 mm thick x 3050 mm) to form Grid size 600x 600 mm using MS Rods, "J" Bolts and anchor fasterners etc as per specification & as directed by dept, officers.
447 | Using Plain Gypsum Board 9.5 mm laid on to the Grid | 1 sqm | 495
448 | Using Plain Gypsum board 12.5 mm laid on to the Grid. | 1 Sqm | 535
Gypboard metal stud partition single layer:-
449 | Supply &fixing 75mm thick metal stud partition using 12.5 mm thick Gypboard conforming to IS 2095-1982 screw fixed to either side to 48 mm studs of 0.55 mm thick with the 50 mm floor and ceiling channel 0.55 mm and the joints duly finished with joint compound, paper tape and two coats Dry wall top coat as per specification. | 1 Sqm | 900
450 | Providing false ceiling with 15 mm thick Arm strong mineral fiber Board fine finished of size 600x 600mm fixed over Aluminum frame using "T" Angles 38.1x25.4 mm (1 1/2" x1") size heavy duty weight suspended from roof using 6mm dia MS Rod hooking over roof replacement and outer attached to the "J" Bolts fixed to the"T" angles including Cost &conveyance of all materials and labour charges such as cutting , fixing of standing of frame work exposing roof making complete for finished item of work | 1 Sqm | 650
451 | Providing wooden paneling 12 mm thick Novapan one side laminated sheet fixed on wooden frame of BT wood size 50.8 mm x 25.4 mm (2"x1") at distance of 609.6mm (2'-0") intervals of both ways providing 3/4" x 1/2" (19.05 mm x 12.7 mm ) size BT wood ornamental cover beeding and necessary screws, fevical glue complete for finished item of work. | 1 Sqm | 1215
452 | Supply , manufacturing , installing of library Rack of 19 mm thick ISI marked commercial ply All round boxing verticals, Horizontal for depth of 609.6mm (2'-0) and shelves with 3.5 mm thick teak veneer covered with on exposed surface externally and internally and each panels with 6mm thick ISI commercial ply with 3.5 mm thick teak veneer for glazed shutters teak wood size 55 mm x 28mm with 5 mm thick glass fixed with ornamental beeding and other ornamental beading is covered as per drawing including brass hinges, ornamental handles, ball catchters, buffers, locking system etc, and all the commercial ply exposed edges are to be covered with 6 mm thick teak wood lipping. All the teak veneer and teak wood and ornametnal beading is to coated with polishing and a coat of melamine finish etc, complete for finished item of work. | 1 Sqm | 5200
453 | Thermocole 12 mm thick | 1 Sqm | 19
454 | Thermocole 19 mm thick | 1 Sqm | 33
Supply &fixing thermocole false ceiling 2' x 2' (609.6 mm x 609.6 mm ) size with all necessary fittings for finished item of work.
455 | 25 mm thick | 1 Sqm | 336
456 | 19 mm thick | 1 Sqm | 314
457 | Plaster of paris 12 mm thick | 1 Sqm | 330
458 | Plaster of Paris 10 mm thick | 1 Sqm | 275
459 | Supply & fixing Plaster of paris false ceiling with all necessary fittings for finished item of work. | 1 Sqm | 359
PLYWOOD ITEMS
460 | Plywood 3 ply with teak ply on one face and commercial ply on another face 4mm thick | 1 Sqm | 347
461 | Plywood 5 ply with commercial ply on both faces 6 mm thick | 1 Sqm | 308
462 | Plywood 5 ply with commercial ply on both faces 8 mm thick | 1 Sqm | 314
463 | Plywood 5 ply with Teak ply on both faces 9 mm thick | 1 Sqm | 754
464 | Plywood 5 ply with teak ply on one face and comercial ply on another face 6 mm thick | 1 Sqm | 451
465 | Plywood 5 ply with teak ply on one face and comercial ply on another face 9 mm thick | 1 Sqm | 578
466 | Plywood 9 ply with commercial ply on both faces 12 mm thick. | 1 Sqm | 358
467 | Plywood 9 ply with commercial ply on both faces 15 mm thick. | 1 Sqm | 517
468 | Plywood 9 ply with commercial ply on both faces 19 mm thick. | 1 Sqm | 594
469 | Plywood 9 ply with teak ply on both faces 12 mm thick | 1 Sqm | 880
470 | Plywood 9 ply with teak ply on one face and commerical ply on another face 13 mm thick | 1 Sqm | 737
Flush Door Shutters ( Kutty or Equivalent ) Conforming to IS 2201
(Providing Solid core Flush Doors veneer facing).
Both Sides Teak
471 | 40/38 mm thick | 1 Sqm | 1206.5
472 | 35mm thick | 1 sqm | 1178
473 | 30 mm thick | 1 sqm | 1124
One Side teak wood and other side commercial
474 | 40/38 mm thick | 1 sqm | 1086
475 | 35 mm thick | 1 sqm | 1040.5
476 | 30 mm thick | 1 sqm | 996
One Side teak wood and other side Kutty Coat
477 | 40/38 mm thick | 1 sqm | 1284
478 | 35 mm thick | 1 sqm | 1233.75
479 | 30 mm thick | 1 sqm | 1184.5
Both Side Commercial
480 | 40/38 mm thick | 1 sqm | 922
481 | 35 mm thick | 1 sqm | 878
482 | 30 mm thick | 1 sqm | 832.5
Both Sides Kutty Coat
483 | 40/38 mm thick | 1 sqm | 1145
484 | 35 mm thick | 1 sqm | 1096
485 | 30 mm thick | 1 sqm | 1046
Providing Internal Lipping by Teak Wood Single Leaf
486 | All edges 30 mm thick & below | 1 sqm | 294
487 | 35 mm thick | 1 sqm | 333
488 | 38/40 mm thick | 1 sqm | 366
Providing Internal Lipping by Teak Wood Double Leaf
489 | All edges 30 mm thick & below | 1 sqm | 449.5
490 | 35 mm thick | 1 sqm | 471.75
491 | 38/40 mm thick | 1 sqm | 621.5
Providing External Lipping by Teak Wood Single Leaf
492 | All edges 30 mm thick & below | 1 sqm | 205
493 | 35 mm thick | 1 sqm | 227.5
494 | 38/40 mm thick | 1 sqm | 227.5
495 | Bottom edges only | 1 sqm | 22
Providing External Lipping by Teak Wood Double Leaf
496 | All edges 30 mm thick & below | 1 sqm | 244
497 | 35 mm thick | 1 sqm | 272
498 | 38/40 mm thick | 1 sqm | 272
499 | Bottom edges only | 1 sqm | 22
Providing External Lipping by Hard Wood Single Leaf
500 | All edges 30 mm thick & below | 1 sqm | 77.7
501 | 35 mm thick | 1 sqm | 88.8
502 | 38/40 mm thick | 1 sqm | 88.8
503 | Bottom edges only | 1 sqm | 17.75
Providing External Lipping by Hard Wood Double Leaf
504 | All edges 30 mm thick & below | 1 sqm | 100
505 | 35 mm thick | 1 sqm | 111
506 | 38/40 mm thick | 1 sqm | 111
507 | Bottom edges only | 1 sqm | 17.75
Designers Doors by Teak wood
508 | Torina | 1 sqm | 371.8
509 | Penta Torina | 1 sqm | 433
510 | Arch Torina | 1 sqm | 371.8
Designers Doors by Hard Wood
511 | Torina | 1 sqm | 166.5
512 | Penta Torina | 1 sqm | 222
513 | Arch Torina | 1 sqm | 166.5
514 | Tanjore Art | 1 sqm | 627
Kutty’s New International Eleganza range Panel Doors with imported phenolic moulded fiber board panels
Kutty’s Vishala Heavy Duty
515 | 975 x 2035 x 30 mm thick | 1 sqm | 1644
516 | 920 x 2065 x 30 mm thick | 1 sqm | 1644
517 | 830 x 2065 x 30 mm thick | 1 sqm | 1644
518 | 680 x 2065 x 30 mm thick | 1 sqm | 1644
519 | 975 x 2035 x 35 mm thick | 1 sqm | 1696
520 | 920 x 2065 x 35 mm thick | 1 sqm | 1696
521 | 830 x 2065 x 35 mm thick | 1 sqm | 1696
522 | 680 x 2065 x 35 mm thick | 1 sqm | 1696
523 | 975 x 2035 x 38 mm thick | 1 sqm | 1743
524 | 920 x 2065 x 38 mm thick | 1 sqm | 1743
525 | 830 x 2065 x 38 mm thick | 1 sqm | 1743
526 | 680 x 2065 x 38 mm thick | 1 sqm | 1743
Kutty’s Vishala Light Duty
527 | 975 x 2035 x 30 mm thick | 1 sqm | 1578
528 | 920 x 2065 x 30 mm thick | 1 sqm | 1578
529 | 830 x 2065 x 30 mm thick | 1 sqm | 1578
530 | 680 x 2065 x 30 mm thick | 1 sqm | 1578
531 | 975 x 2035 x 35 mm thick | 1 sqm | 1616.5
532 | 920 x 2065 x 35 mm thick | 1 sqm | 1616.5
533 | 830 x 2065 x 35 mm thick | 1 sqm | 1616.5
534 | 680 x 2065 x 35 mm thick | 1 sqm | 1616.5
535 | 975 x 2035 x 38 mm thick | 1 sqm | 1654
536 | 920 x 2065 x 38 mm thick | 1 sqm | 1654
537 | 830 x 2065 x 38 mm thick | 1 sqm | 1654
538 | 680 x 2065 x 38 mm thick | 1 sqm | 1654
Kutty’s Heera Heavy Duty
539 | 920 x 2035 x 30 mm thick | 1 sqm | 1644
540 | 815 x 2035 x 30 mm thick | 1 sqm | 1644
541 | 660 x 2035 x 30 mm thick | 1 sqm | 1644
542 | 920 x 2035 x 35 mm thick | 1 sqm | 1696
543 | 815 x 2035 x 35 mm thick | 1 sqm | 1696
544 | 660 x 2035 x 35 mm thick | 1 sqm | 1696
545 | 920 x 2035 x 38 mm thick | 1 sqm | 1743
546 | 815 x 2035 x 38 mm thick | 1 sqm | 1743
547 | 660 x 2035 x 38 mm thick | 1 sqm | 1743
Kutty’s Heera Light Duty
548 | 920 x 2035 x 30 mm thick | 1 sqm | 1578
549 | 815 x 2035 x 30 mm thick | 1 sqm | 1578
550 | 660 x 2035 x 30 mm thick | 1 sqm | 1578
551 | 920 x 2035 x 35 mm thick | 1 sqm | 1616.5
552 | 815 x 2035 x 35 mm thick | 1 sqm | 1616.5
553 | 660 x 2035 x 35 mm thick | 1 sqm | 1616.5
554 | 920 x 2035 x 38 mm thick | 1 sqm | 1654
555 | 815 x 2035 x 38 mm thick | 1 sqm | 1654
556 | 660 x 2035 x 38 mm thick | 1 sqm | 1654
Kutty’s Fantasy Heavy Duty
557 | 815 x 2065 x 30 mm thick | 1 sqm | 1664
558 | 660 x 2065 x 30 mm thick | 1 sqm | 1664
559 | 815 x 2065 x 35 mm thick | 1 sqm | 1696
560 | 660 x 2065 x 35 mm thick | 1 sqm | 1696
561 | 815 x 2065 x 38 mm thick | 1 sqm | 1743
562 | 660 x 2065 x 38 mm thick | 1 sqm | 1743
Kutty Fantasy Light duty
563 | 815 x 2065 x 30 mm thick | 1 sqm | 1578
564 | 660 x 2065 x 30 mm thick | 1 sqm | 1578
565 | 815 x 2065 x 35 mm thick | 1 sqm | 1616
566 | 660 x 2065 x 35 mm thick | 1 sqm | 1616
567 | 815 x 2065 x 38 mm thick | 1 sqm | 1654
568 | 660 x 2065 x 38 mm thick | 1 sqm | 1654
Kutty’s Eleganza Heavy Duty
569 | 815 x 2065 x 30 mm thick | 1 sqm | 1664
570 | 660 x 2065 x 30 mm thick | 1 sqm | 1664
571 | 815 x 2065 x 35 mm thick | 1 sqm | 1696
572 | 660 x 2065 x 35 mm thick | 1 sqm | 1696
573 | 815 x 2065 x 38 mm thick | 1 sqm | 1743
574 | 660 x 2065 x 38 mm thick | 1 sqm | 1743
Kutty’s Eleganza Light Duty
575 | 815 x 2065 x 30 mm thick | 1 sqm | 1578
576 | 660 x 2065 x 30 mm thick | 1 sqm | 1578
577 | 815 x 2065 x 35 mm thick | 1 sqm | 1616
578 | 660 x 2065 x 35 mm thick | 1 sqm | 1616
579 | 815 x 2065 x 38 mm thick | 1 sqm | 1654
580 | 660 x 2065 x 38 mm thick | 1 sqm | 1654
Kutty’s Heleganza Golden Oak Heavy Duty
581 | 850 x 2035 x 30 mm thick | 1 sqm | 1664
582 | 850 x 2035 x 35 mm thick | 1 sqm | 1696
583 | 850 x 2035 x 38 mm thick | 1 sqm | 1743
Kutty’s Heleganza Golden Oak Light Duty
584 | 850 x 2035 x 30 mm thick | 1 sqm | 1578
585 | 850 x 2035 x 35 mm thick | 1 sqm | 1616
586 | 850 x 2035 x 38 mm thick | 1 sqm | 1654
Providing external Lipping with teak wood.
587 | 30/32 mm thick | 1 sqm | 205
588 | 35/38 mm thick | 1 sqm | 227.5
Providing external Lipping with Hard wood.
589 | 30/32 mm thick | 1 sqm | 88.5
590 | 35/38 mm thick | 1 sqm | 111
591 | Ployurethene coating for extra water resistance for bath / toilet doors for each side. | 1 sqm | 83
DOOR FRAMES
592 | MS. Hallow door frames manufactured by cold roll formed process steel sheet 1.25mm thick bright CRCA confirming to IS 4351 - 1976 with Hinges tower Bolts etc. | 1 Rm | 155
Flush door shutters, solid bond wood block board type with teak ply on both faces
593 | 25 mm thick | 1 sqm | 836
594 | 30 mm thick | 1 sqm | 864
595 | 35 mm thick | 1 sqm | 930
Flush door shutters, solid bond wood block board type with commercial ply on both faces
596 | 25 mm thick | 1 sqm | 425
597 | 30 mm thick | 1 sqm | 479
598 | 35 mm thick | 1 sqm | 525
599 | 40 mm thick | 1 sqm | 625
Flush door shutters, solid bond wood block board type with teak venner on one face and commericla ply on another face (liping)
600 | 20 mm thick | 1 sqm | 561
601 | 25 mm thick | 1 sqm | 625
602 | 30 mm thick | 1 sqm | 700
603 | 35 mm thick | 1 sqm | 750
604 | 40 mm thick | 1 sqm | 800
Plain cement bonded particle boards conforming to IS 14276 truly exterior grade (Bison panel or equivalent)
605 | 6 mm thick | 1 sqm | 139
606 | 8 mm thick | 1 sqm | 171
607 | 10 mm thick | 1 sqm | 201
608 | 12 mm thick | 1 sqm | 233
609 | 16 mm thick | 1 sqm | 311
610 | 20 mm thick | 1 sqm | 373
611 | 25 mm thick | 1 sqm | 451
612 | 30 mm thick | 1 sqm | 527
613 | 40 mm thick | 1 sqm | 683
Prelaminated cement particle board truly exterior board one side laminated (Bison Lam or equivalent)
614 | 6 mm thick | 1 sqm | 371
615 | 8 mm thick | 1 sqm | 392
616 | 10 mm thick | 1 sqm | 413
617 | 12 mm thick | 1 sqm | 434
618 | 16 mm thick | 1 sqm | 483
Prelaminated cement particle board truly exterior board both side laminated (Bison Lam or equivalent)
619 | 6 mm thick | 1 sqm | 413
620 | 8 mm thick | 1 sqm | 434
621 | 10 mm thick | 1 sqm | 455
622 | 12 mm thick | 1 sqm | 476
623 | 16 mm thick | 1 sqm | 525
Cup board shutters using Bison Panel Plain cement bonded particle Board
624 | Supply & fixing of cup board shutters and frames using 16 mm thick bison panel cement bonded board and painted both sides with one coat of primer and two coats of synthetic enamel paint of approved shade and brand including fixing of furniture like piano, hinges brass ball catches, aluminum tower bolts, handles, nails, screws, godrej locks 6 Nos. fevicol including cost and conveyaance of all materials and labour charges and all incidental and operational charges etc complete for finished item of work at site for kitchen cup boards. | 1 sqm | 1175
625 | Supply & and fixing of false ceiling with pre - painted cold rolled "T" Sections of size 1 mm x 30 mm x 0.55 mm of grid size of 610 x 610 mm suspended by GI flat (0.60) mm wire 14 gauge with necessary components and with 8 mm thick bison panel (cement bonded particle board) laid on the grid inclusive of necessary hardware and labour etc, and one coat of primer paint, two coats altek plaint one side, other side one coat of primer. | 1 Sqm | 580
626 | Supply and fixing bison panel wall paneling (water proof) with frame work made of GI stud profiele of size 48 x 40 x 10 x0.6 mm thick placed at every 610 mm C/C intervals fixed vertically in between floor and roof "U" track of size 50 x 30 x 0.6 mm thick duly fixed with self expansion screws and with 10 mm thick bison planel claded around with self tapping self embedding screws fixed at every 300 mm (centers) leaving 3 mm gap between two panels of width 2'-0" (609.6mm) painting Altek smooth finish 2 coats of polymer binding medium specially graded marble powder sand other materials to give ideal surface over Altek primer coat including cost and conveyance of all materials and labour charges etc. complete | 1 Sqm | 930
627 | Supply and fixing duble skin bison planel partition with frame work made of GI stud profiles of size 48 x 40 x 10 x 0.6 m thick placed at every 610 mm veritical and intervals and 915 mm horizontal intervals duly fixed with self expansion screws, the bison panel of 10 mm thick in cladded in panels of width of 2'-0 " (609.6mm) fixed both sides of plartition fixed with self tapping self embedding screws fixed at every 300 mm centers leaving 3 mm gap between two panels, the surface smooth finish made of polymer binding medium specifically graded marble powder, sand and other materials to give ideal surfcae etc, over Altek primer coat including cost and conveyance of all materials to site and incidental labour charges etc.complete | 1 Sqm | 1490
628 | Supply and fixing bison panel door shutter with alround style "U" size of 20 mm x 18 mm x 20 mm made from 0.6 mm thick galvanized prepainted cold rolled steel profiles with 16 mm thick bison panel with necessary screws fixed at every 1'-0" (304.8mm) interval 250 mm long aldrops 2 nos. MS nickel coated 250 m lng 1 No. MS tower bolts including cost and conveyance of all materials at site and applying one oat primer 2 coats of luppum and two coats of synthetic enamel paint as per approved design for finished item of work. | 1 Sqm | 1100
629 | Providing and fixing frame made from 1 mm galvanized SS prepainted cold roller steel profiles with IS 277 with Zince of 120 gr/sqm primer coat of epoxy primer of 7 microns thick finish paint ith modifided polyester paint of thickness between 13-20 microns and back coat ith alkie polyester of 7-12 microns. Overall section size of 50 mm x 50 mm with 15 mm deep 28 mm wide rebate for shutter with necessary corner brackets, stiffeners, hinges and screws, expandable screws. Bison panel shutter single door type with alround styles "U" size of 20 mm x 18 mm x 20mm made from 0.6mm thick galvanized prepainted cold rollerm, steel profiles with 16 mm thick bison panel with necessary screws fixed every 1'-0" (304.8mm) interval 250 mm long aldrops 2 nos MS Nikel coat 250mm long 1 no MS tower bolt incluidng cost and conveyance, One coat of primer 2 coats of luppum and two coats of synthetic enamel paint as per approved colour, labour charges etc | 1 Sqm | 1750
630 | Supply and fixing of cup boars, box type using plain 16 mm bison board for box framing alround frame of 100 x 35 mm using double sheet 16mm thick one plain and one prelaminated cement particle board. The shutter consisting of 16 mm thick prelaminated bison lam of aproved shade (manufactured as per the instructions of Engineer incharge) inclusive of all taxes, transport, door furniture, fixtures, powder coated handles 4" (101.6 mm) aluminum tower bolt 4"(101.6mm) godrej locks 3/4 " x 3/4" piano hinges etc complete finished item of work. | 1 Sqm | 2500
631 | SINTEX OR EQUIVALENT DOOR (SINGLE PANEL) | Sqm. | 1625
Supply and fixing Sintex or equivalent doors are made out of PVC section and panels. The overall dimension of the same is 33mm X 47mm with usual process variation and having a wall thickness of 1.5mm with a variation of ± 0.3mm. The infill is seamless hallow multi chambered PVC single panel having an effective dimension of 762mm X 20mm having a wall thickness of 1mm ± 0.3mm including all taxes complete, for finished item of work.
632 | Supply and fixing PVC door frames made from extruded sections in overall dimensions of 40 X 48mm having a wall thickness of 1.5mm with usual process variation of ± 0.3mm, including all taxes complete, for finished item of work. | Sqm. | 152
633 | SINTEX OR EQUIVALENT OPENABLE WINDOW | Sqm. | 2422
Supply and fixing of Sintex window shall be made out of extruded PVC section. The outer frame having overall dimensions of 40 X 48mm with a wall thickness of 1.5mm with usual process variation of ± 0.3mm. The shutter frame having with overall dimensions of 26 X 47mm with wall thickness of 1.2mm ± 0.3mm provided with 5mm glazing. The centre mullion having over all dimensions of 25 X 32.5mm ±0.3mm, including all taxes complete, for finished item of work.
634 | SINTEX OR EQUIVALENT SLIDING 2 TRACK WINDOWS | Sqm. | 2100
Supply and fixing of two track or three track sliding window the outer frame shall be 58 X 45mm with a wall thickness of 1.2mm ± 0.3mm. The sliding shutter frame is made of PVC section 57 X 32mm with overall dimensions of 1.5mm ± 0.3mm provided with 5mm glazing. Roller bearings and arrestor type handle cum lock shall be provided, including all taxes complete, for finished item of work.
635 | SINTEX OR EQUIVALENT FALSE CEILING | Sqm. | 1075
Supply and fixing of PVC false ceiling on MS/GI made skeleton framework. The frame shall be 24 X 48mm MS tube section fixed along with the wall. The entire frame work shall be concealed with PVC section having overall dimensions of 6 X 250mm with a wall thickness of 1mm ± 0.3mm with tongue and groove system, provided with necessary arrangements for electrical connections, including all taxes complete, for finished item of work.
636 | SINTEX OR EQUIVALENT WALL PANELLING | Sqm. | 1025
Supply and fixing of wall panelling on the framework of wooded rippers of 24 X 24mm of required size. The entire framework shall be panelled with PVC section having overall dimensions of 6 X 250mm with a wall thickness of 1mm ± 0.3mm. The panels are joined with tongue and groove system. Necessary cutouts for electrical connections to be provided at required places, including all taxes complete, for finished item of work.
637 | SINTEX OR EQUIVALENT PVC CABINETS | Sqm. | 2965
Supply and fixing of PVC cupboards for kitchen and bedrooms shall be made out of multi chambered PVC sections having overall dimensions of 20 X 762mm with a wall thickness of 1.2mm ± 0.3mm. The cabinets shall be made as per the requirements of the room with groove system. The PVC section surface shall be plain and laminated finish to have good look, including all taxes complete, for finished item of work.
SINTEX OR EQUIVALENT SMC SIGN BOARDS
Supply of hot pressed compression moulded SMC sign plates for making road signs ass per the approved dimensions of National Highway Authority Of India, including all taxes complete, for finished item of work.
638 | Circular sign plate Dia 400mm. | Each. | 430
639 | Circular sign plate Dia 600mm. | Each. | 1130
640 | Circular sing plate Dia 870mm | Each. | 2264
641 | Triangular sign plate 600mm. | Each. | 580
642 | Triangular sign plate 900mm. | Each. | 1310
643 | Square sign plate 600mm. | Each. | 1050
644 | Square sign plate 1000mm. | Each. | 3900
645 | SINTEX OR EQUIVALENT PVC PARTITION | Sqm. | 1885
Supply and fixing of PVC Double Skin Partition. The entire framework shall be carried out by mild steel section having overall dimensions of 24 X 48mm with a wall thickness of 1.2mm. The entire framework shall be concealed with PVC section having overal dimensions of 6 X 250mm with a wall thickness of 1mm ± 0.3mm both sides. Glass provision/Door provision can be provided along the partition wherever required. Partitions can be made full or half as per requirement, including all taxes complete, for finished item of work.
646 | SINTEX OR EQUIVALENT WATER STORATGE TANKS | Ltr. | 5.5
Supply of Sintex or equivalent Polyethylene water storage tank double layer confirming to ISI 12701/96 mark with lid including all taxes.
PVC DOOR SHUTTER WITH FRAME (Nandi or Equivalent)
647 | Supply and fixing of door shutters made of rigid PVC extruded | Sqmt. | 995
hollow section (Nandi or equivalent) of 20mm X 20mm
equally divided into 4 nos. with tongue and groove locking
arrangements. The shutter frame is made of 38 X 24mm section
metri-cut and joined at 4 corners with 125mm X 250mm plastic
brackets. The shutter shall be horizontally reinforced with 2 nos.
of 8mm PVC/steel rods. Teak wood battons shall be reinforced
inside the door shutter during the fabrication of the door shutter
at those points wherever the hardware is fixed onto the door
shutter.
648 | Supply and fixing of door frame made of hollow extruded PVC | Sqmt. | 1295
section (Nandi or equivalent) having dimensions of 40 X 57mm
duly reinforced with Electro galvanized steel channel of size
34 X 12 X 1.25mm at the hinge sides. The door frame top 2
corners shall be metri-cut/welded.
649 | Supply and fixing of door frame made of hollow extruded PVC | Sqmt. | 1190
section (Nandi or equivalent) having dimensions of 40 X 46mm
duly reinforced with electro galvanised steel channel of size
34X12X1.25mm at the hinge sides. The door frame top 2 corners
shall be metri-cut/welded.
PRE- PAINTED STEEL, WINDOWS, VENTILATORS & DOOR FRAMES.
Supply and fixing of windows & top Hung and fixed louvered ventilators made of pre - painted steel (base steel as per IS 513 of -0.6 mm thick 'D" quality, galvanized as per IS 277 with zinc of 120 GSM) primer coated with epoxy primer of 5-7 microns thick, finish painted with a polyester paint of 12-16 microns thick and back coated with 5-7 microsn thick alkyd backer. Section for outer frame should be 46 x 52 mm section for shutter should be 46 x 46 mm section for mullion should be 46 x 70 mm, and section for beading should be 18 x 25 mm and section for louvered ventilation should be 33 x57mm Box section. The windows should be panelled with 5mm thick plain float glass & 4 mm pinhead glass for ventilators with Ethy propylene Diamine monomer Gasket(EPDM). The sections are to be cut to length mitre joined with corner brocket centre mullions are to be fixed using mullilon cap. Handle made of high grade aluminium powder coated and nylon receiver. Gaskets made of Ethyl propylene Diamine monomer(EPDM). Corner brackets made of
CRCA with Zinc Phasphating. Mullion caps made of glass linked nylon. The above frames should be fixed to the concrete /masonry wall by means of self expanidng screws. including 10 mm square guard bars with 6" pitch and all taxes, complete for finished item of work.
Windows
650 | Single shutter 2'0 x 4'0 (609.6 x 1219.2 mm ) Outer frame section size of 46 x 52 mm shutter frame section size of 46 x 46 mm | 1 sqm | 2712
651 | Double shutter 3'-0" x 4'-0" (914.4mm x 1219.2 mm) outer frame sectionsize of 46 x 52 mm shuter frame section size of 46 x 46 mm | 1 Sqm | 2712
652 | Double shutter 3'-0" x 4'-0" (914.4mm x 1219.2 mm) outer frame sectionsize of 46 x 52 mm shutter frame section size of 46 x 46 mm Mullion section size of 46 x 70 mm | 1 Sqm | 2874
653 | Double shutter 4'-0" x 4 '-0" (1219.2x12.19.2mm) outer frame section size of 46 x 52 mm shutter frame section size of 46 x 46 mm | 1 Sqm | 2712
654 | Double shutter 4'-0" x 4 '-0" (1219.2x1219.2mm) outer frame section size of 46 x 52 mm shutter frame section size of 46 x 46 mm Mullion section size of 46 x 70 mm | 1 Sqm | 2874
655 | Double shutter 4'-6" x 4 '-6" (1371.6x1371.6mm) outer frame section size of 46 x 52 mm shutter frame section size of 46 x 46 mm Mullion section size of 46 x 70 mm | 1 Sqm | 2562
656 | Centre fixed both side openable shutter 5'-0" x 4'-0" (1524x1219.2mm) outer frame section size of 46 x 52 mm shutter frame section size of 46 x 46 mm Mullion section size of 46 x 70 mm fixed beading section size of 18 x 25 mm | 1 Sqm | 2562
657 | Centre fixed both side openable shutter 6'-0" x 4'-0" (1828.8x1219.2mm) outer frame section size of 46 x 52 mm shutter frame section size of 46 x 46 mm Mullion section size of 46 x 70 mm fixed beading section size of 18 x 25 mm | 1 Sqm | 2562
658 | Centre fixed both side openable shutter 6'-0" x 4'-6" (1828.8x1371.6mm) outer frame section size of 46 x 52 mm shutter frame section size of 46 x 46 mm Mullion section size of 46 x 70 mm fixed beading section size of 18 x 25 mm | 1 Sqm | 2562
Ventilators :
659 | Top Hung 2 '-0" x 2'-0" (609.6x609.6mm) outer frame section size of 46mm x 52 mm shutter frame section size of 46mm x 46 mm | 1 Sqm | 2971
660 | Top Hung 4 '-0" x 2'-0" (1219.2x609.6mm) outer frame section size of 46 x 52 m shutter frame section size of 46 x 46 mm Mullion section size of 46 x 70 mm | 1 Sqm | 2971
661 | Top Hung 4 '-0" x 3'-0" (1219.2x914.4mm) outer frame section size of 46 x 52m m shutter frame section size of 46 x 46 mm Mullion section size of 46 x 70 mm | 1 Sqm | 2971
662 | Fixed louvers 2'-0" x 2'-0" (609.6x609.6mm)(Box section) outer frame section size of 33 x 57 mm | 1 Sqm | 2034
663 | Fixed louvers 4'-0" x 2'-0" (1219.2x609.6mm)(Box section) outer frame section size of 33 x 57 mm Mulliion section size of 33 x 57 | 1 Sqm | 2034
664 | Fixed louvers 4'-0" x 3'-0"(1219.2x914.4mm)(Box section) outer frame section size of 33 x 57 mm Mulliion section size of 33 x 57 | 1 Sqm | 2034
NCL or Equivalent ECO 3000 SERIES WINDOWS (SUITABLE FOR RESIDENTIAL BUILDINGS WITH GRILL PROVISION)
Providing and Fixing of windows made of pre-painted steel (Base steel as per IS 513 of 0.6mm thick galvanized as per IS 277 with Zinc of 150 GSM). Primer coated with epoxy primer of 5-7 microns thick, finish painted with a polyester paint of 12-16 microns thick and back coated with 5-7 microns thick alkyd backer. Section for outer frame should be of 48x50mm, center mullion should be of 48x50mm, section for shutter should be of 47x20mm and Fixed glass beading section should be of 12x12mm. Outer frame and mullions to have rebate for Glazed shutter and a 20mm provision for Guard bars/Grills. The sections are to be cut to length metre joined with corner bracket. Centre mullion is to be fixed with mullion cap. Seccolor Handle, 8” stay made of Aluminium, 2 nos. of Stainless Steel heavy duty Pivot hinges shall be provided per shutter. The windows should be paneled with 5mm thick plain float glass. Rubber Gaskets are provided all around the glass. The above frames should be fixed to the concrete/masonry wall by means of
self expanding screws, Including 10mm Square guard bars with 6” (152.4mm) pitch and all Taxes, etc., complete for finished item of work.
665 | Single shutter Window 2’0”x4’0” (609.6mm x 1219.2mm). Outer frame section size of 48x50mm shutter frame section size of 47x20mm. | 1 Sqm | 2497
666 | Double shutter Window with vertical mullion 3’0” x 4’0” ( 914.4mm x 1219.2mm) outer frame section size of 48x50mm shutter frame section size of 47x20mm. Mullion section size of 48x50mm. | 1 Sqm | 2659
667 | Double shutter Window with vertical member4’0” x 4’0” (1219.2mm x 1219.2mm) outer frame section size of 48x50mm shutter frame section size of 47x20mm and mullion section should be of 48x50mm. | 1 Sqm | 2659
668 | Centre fixed both side openable shutter window 5’0”x4’0” (1524mm x1219.2mm). Outer frame section size of 48x50mm. Shutter frame section size of 47x20mm. Mullion section size of 48x50mm. Fixed beading section size of 12x12mm. | 1 Sqm | 2346
669 | Centre fixed both side openable shutter window 6’0”x4’0” (1828.8mm x1219.2mm). Outer frame section size of 48x50mm. Shutter frame section size of 47x20mm. Mullion section size of 48x50mm. Fixed beading section size of 12x12mm. | 1 Sqm | 2346
NCL or Equivalent ECO 4000 SERIES WINDOWS (SUITABLE FOR RESIDENTIAL BUILDINGS WITH GRILL & FLYMESH PROVISION)
Providing & Fixing of windows made of pre-painted steel (Base Steel as per IS 513 of 0.6mm thick galvanized as per IS 277 with zinc of 150 GSM). Primer coated with epoxy primer of 5-7 microns thick, finish painted with a polyester paint of 12-16 microns thick and back coated with 5-7 microns thick alkyd backer. Section for outer frame should be of 72x50mm, center mullion should be of 72x50mm, Section for fixed glass beading section should be of 12x12mm and section for shutters should be of 47x20mm. Outer frame & mullion sections to have rebate for glazed shutters, flymesh and a 20mm provision for guard bars/grills. Flymesh shutter section should be of 20x40mm. The sections are to be cut to length metre joined with corner bracket. Centre mullions are to be fixed with mullion cap. Telescopic Stay, ‘D’ type handle, 2 nos’ of 3” Tower Bolt made of Aluminium. 2 Nos of heavy duty stainless steel pivot hinges shall be provided per Shutter. The windows should be paneled with 5mm thick plain float glass and S.S. Mesh for flymesh shutter(304 grade).
Rubber Gaskets are provided all around the glass. The above
frames should be fixed to the concrete/masonry wall by means
of self expanding screws. Including 10mm Square guard bars
with 6” (152.4mm) pitch and all Taxes, complete for finished item
of work
670 | Single shutter Window 2’0”x4’0” (609.6mm x 1219.2mm). Outer frame section size of 72x50mm shutter frame section size of 47x20mm. | 1 Sqm | 3315
671 | Double shutter Window with vertical mullion 3’0” x 4’0” ( 914.4mm x 1219.2mm) outer frame section size of 72x50mm shutter frame section size of 47x20mm. Mullion section size of 72x50mm. | 1 Sqm | 3477
672 | Double shutter Window with vertical member4’0” x 4’0” (1219.2mm x 1219.2mm) outer frame section size of 72x50mm shutter frame section size of 47x20mm and mullion section should be of 72x50mm. | 1 Sqm | 3477
673 | Centre fixed both side openable shutter window 5’0”x4’0” (1524mm x1219.2mm). Outer frame section size of 72x50mm. Shutter frame section size of 47x20mm. Mullion section size of 72x50mm. Fixed beading section size of 12x12mm. | 1 Sqm | 3165
674 | Centre fixed both side openable shutter window 6’0”x4’0” (1828.8mm x1219.2mm). Outer frame section size of 72x50mm. Shutter frame section size of 47x20mm. Mullion section size of 72x50mm. Fixed beading section size of 12x12mm. | 1 Sqm | 3165
Flymesh Shutters
Supply & fixing of Flymesh shtters of size 20 x 40 mm fly proof mesh with std. Spn (S.S.) flymesh inclding cost and conveyance of all materials, all taxes and labour charges etc. complete for finished item of work.
675 | Single shutter 2'-0" x 4'-0" (609.6x1219.2mm) shutter section size 20 x 40 mm | 1 Sqm | 624
676 | Double shutter 3'-0" x 4'-0" (914.4x1219.2mm) shutter section size 20 x 40 mm | 1 Sqm | 624
677 | Double shutter 4'-0" x 4'-0" (1219.2x1219.2mm) shutter section size 20 x 40 mm | 1 Sqm | 624
Supply & fixing of Flymesh shutters of size 20 x 40 mm fly proof mesh with Netlon flymesh inclding cost and conveyance of all materials, all taxes and labour charges etc. complete for finished item of work.
678 | Single shutter 2'-0" x 4'-0" (609.6x1219.2mm) shutter section size 20 x 40 mm | 1 Sqm | 538
679 | Double shutter 3'-0" x 4'-0" (914.4x1219.2mm) shutter section size 20 x 40 mm | 1 Sqm | 538
680 | Double shutter 4'-0" x 4'-0" (1219.2x1219.2mm) shutter section size 20 x 40 mm | 1 Sqm | 538
Door frames
Supply & fixing of Door frames made of all formed sections of 1.25mm thick CRCA section, size should be 50x60mm with 32mm rebate. The corner of the frame should be welded. The frame should be painted with one coat of primer and finished painted with pure polyester paint. The frame should be provided with approved quality butt hinges of 3 Nos. including all taxes complete for finished item of work.
681 | Single shutter 3'-0" x 7'-0" (914.4x2133.6mm) outer frame section size of 50 x 60 mm | 1RM | 136
682 | Double shutter 5'-0" x 7'-0" (1524x2133.6mm) outer frame section size of 50 x 60 mm | 1 RM | 136
Supplying & fixing of Door frame made of roll formed section of 1.25 mm thick CRCA section, size should be 50 x 60 mm with 32 mm rebate. The corner of the frame should be welded. The frame should be painted with one coat of primer and finished painted with pure plolyester paint. The frame should be provided with approved quality butt hinges of 3 Nos. including all taxes complete for finished item of work.
683 | Single shutter 3'-0" x 7'-0" (914.4x2133.6mm) outer frame section size of 50 x 75 mm | 1 RM | 155
684 | Single shutter 5'-0" x 7'-0" (1524x2133.6mm) outer frame section size of 50 x 75 mm | 1 RM | 155
SPECIFICATION OF HARDWYN OR EQUIVALENT DOOR CLOSER ISI MARKED
685 | Providing and fixing IS:3564 marked Aluminium Die cast body tubular type universal hydraulic door closer, Hardwyn make (Classic Queen) with necessary accessories and screws etc complete | Each | 420
686 | Providing and fixing IS:3564 marked Aluminium Extruded Section body tubular type universal hydraulic door closer with double speed adjustment, Hardwyn make (Mytel) with necessary accessories and screws etc complete | Each | 560
687 | Providing and fixing IS:3564 marked Aluminium Extruded Section body tubular type universal hydraulic door closer with double speed adjustment, Hardwyn make (Eddy) with necessary accessories and screws etc complete | Each | 660
688 | Providing and fixing IS:3564 marked Aluminium Extruded Section body tubular type universal hydraulic door closer with double speed adjustment, Hardwyn make (Gazel) with necessary accessories and screws etc complete | Each | 690
SPECIFICATION OF HARDWYN OR EQUIVALENT FLOOR SPRING ISI MARKED
689 | Providing and fixing double action hydraulic floor spring of approved brand manufacture IS : 6315 marked, Hardwyn make (U-32) for doors including cost of cutting floors as required, embedding in floors and S.S cover plates with Aluminum Pivot and single piece M.S. Sheet outer box with slide plate etc. complete (Weight Capacity upto 130 Kgs) | Each | 1670
690 | Providing and fixing double action hydraulic floor spring of approved brand manufacture IS : 6315 marked, Hardwyn make (U-32) for doors including cost of cutting floors as required, embedding in floors and Brass cover plates with Aluminum Pivot and single piece M.S. Sheet outer box with slide plate etc. complete (Weight Capacity upto 130 Kgs) | Each | 1770
691 | Providing and fixing double action hydraulic floor spring of approved brand manufacture Hardwyn make (U-88) for doors including cost of cutting floors as required, embedding in floors and S.S cover plates with Aluminum Pivot and single piece M.S. Sheet outer box with slide plate etc. complete (Weight Capacity upto 80 Kgs) | Each | 1250
692 | Providing and fixing double action hydraulic floor spring of approved brand manufacture Hardwyn make (U-88) for doors including cost of cutting floors as required, embedding in floors and Brass cover plates with Aluminum Pivot and single piece M.S. Sheet outer box with slide plate etc. complete (Weight Capacity upto 80 Kgs) | Each | 1350
Curtain Glazing
Supply and fixing of curtain Glazing made of pre painted steel (base steel as per IS 513 of 0.6 mm thick D quality, galvanized as per IS 277 with Zinc of 120 GSM) Primer coated with epoxy primer of 5-7 microns thick, finish painted with a polyester paint of 12- 16 microns thick and back coated with 5-7 microns thick alkyad backer. Section for outer frame should be 46 x 52 mm , section for mullion should be 46 x 70 mm and section for beading should be 18 x 25 mm. The Glazing should be panelled with 5 mm thick plain float Glass with Ethyl Propylene diameine Monomer (EPDM) Gaskets. The sections are to be cut to length, mitre joined with corner bracket. Cnetre mullions are to be fixed suing mullion cap. Handle made of high grade alluminium powder coated and nylon receiver. Gaskets made of Ethyl propylence Diamine Monomer (EPDM) Corner brackets made of CRCA with zinc phosphating. Mullion caps made of Glass filled nylon. The above frames should be fixed to the concrete / masonry wall be means of self expanding screws. Including all taxes & complete for finished item of work.
693 | Fixed Glazing 2'-0" x 2'-0" (609.6x609.6mm) grid outer frames section size of 46 x 52 mm | 1 Sqm | 2508
Mullion section size of 46 x 70mm
Beading section size of 18 x 25 mm
694 | Fixed Glazing 2'-0" x 3'-0" (609.6x914.4mm) grid outer frame section size of 46 x 52 mm | 1 sqm | 2508
Mulllion section size of 46 x 70 mm
Beading section size of 18 x 25 mm
695 | Fixed Glazing 3'-0" x 3'-0" (914.4x914.4mm) grid outer frame section size of 46 x 52 mm | 1 sqm | 2142
Mulllion section size of 46 x 70 mm
Beading section size of 18 x 25 mm
696 | Fixed Glazing 3'-0" x 4'-0" (914.4x1219.2mm) grid outer frame section size of 46 x 52 mm | 1 sqm | 2142
Mulllion section size of 46 x 70 mm
Beading section size of 18 x 25 mm
ALLUMINIUM DOORS AND WINDOWS
697 | Supplying alluminium Door frames with rectangular box hollw section (including annodisation cost) | 1 Kg | 176
698 | Supplying alluminium annodised openable sliding window, Ventgilator (including annodisation cost) | 1 Kg | 176
699 | A.C sheet Corrugated 6 mm thick | 1 sqm | 95
700 | A.C sheet plain 4 m thick | 1 sqm | 88
701 | A.C sheet plain 6 m thick | 1 sqm | 90
702 | Sun Control film to the glazed windows partition including labour charges. | 1 sqm | 240
703 | Alluminium Venetian blinds horizontal 25.4 mm wide with all accessories. | 1 sqm | 583
704 | Alluminium Venetian blinds Verticle 100 mm wide with all accessories. | 1 sqm | 990
705 | S & F of marblex flooring with 2.0 mm thick in rolls. | 1 sqm | 325
706 | S&F Vinyl Flooring with tiles 1.5 mm thick in rolls | 1 sqm | 325
RATES OF WORKS
A. DISMANTLING
Dismantling clearing away and carefully stacking materials useful for reuse.
707 | Brick or stone masonry in clay upto 3 M height | 1 Cum | 50
708 | Brick or stone masonry in clay over 3 M height | 1 Cum | 60
709 | Brick or stone masonry in lime motar or brick masonry in cement mortar upto 3 M height | 1 Cum | 85
710 | Brick in lime mortar wall up to 3 M height | 1 Cum | 50
711 | Brick or stone masonry in lime motar or brick masonry in cement mortar over 3 M height | 1 Cum | 85
712 | Brick in lime mortar wall up to 3 M height | 1 Cum | 50
713 | Stone masonry in cement mortar upto 3 M height | 1 Cum | 120
714 | Stone masonry in cement mortar over 3 M height | 1 Cum | 145
715 | Terracing work in roofs or floors | 10 Sqm | 60
716 | Flat stones in roof or floors incluidng lifting | 10 Sqm | 50
717 | pan tiled or mangalore tiled roof without roof timbers. | 10 Sqm | 45
718 | Flat and pan tiles or Mangalore tiles over flat tiles without roof timbers | 10 Sqm | 50
719 | Old thatched roofing including tying materials into small bundles for reuse. | 10 Sqm | 15
720 | Wrought and framed timber in roofs or floors | 1 Cum | 75
721 | Doors and windows including removal of frame, hinges and fastening. | 1 sqm | 25
722 | Old lime mortor plaster | 10 Sqm | 15
723 | Old cement mortar plaster | 10 Sqm | 18
724 | Dry rough stone revetment for aprons and stacking within 40 M lead | 1 Cum | 24
725 | Revetment for aprons and stacking grouted within 40 M lead | 1 Cum | 18
726 | Lime concrete | 1 Cum | 80
727 | Surki or cement concrete | 1 Cum | 125
728 | Cuddapah slabs or shahabad stone slabs fooring on sand bed | 10 Sqm | 25
729 | reinforced cement conrete | 1 Cum | 735
730 | Through scraping of old pllastered surface | 10 Sqm | 15
731 | Washing of platered surface with soap, soda and water (or with soda lime cumbly and water) | 10 Sqm | 5
732 | clean removal of lime plaster from walls and raking out joints 20mm deep or from terraced roof and raking out joints 100 mm deep | 10 Sqm | 16
733 | Clean removal of cement pllater from walls and raking out joint 200 mm deep | 10 Sqm | 17
Bailing out water for earth work excavation /concrete for foundatin below water level.(For building items only)
a) other than sandy soil
734 | 0.0 M to 1.0 M | 1 cum | 64
735 | 1.0 M to 2.0 M | 1 cum | 76
736 | 2.0 M to 3.0 M | 1 cum | 89
b) Sandy soil
737 | 0.0 M to 1.0 M | 1 cum | 102
738 | 1.0 M to 2.0 M | 1 cum | 158
739 | 2.0 M to 3.0 M | 1 cum | 191
(E) CONCRETE
740 | a) Supply and placing of the ready (design ) standard mix concrete M 20 grade from standard suppliers approved by the Department including cost and conveyance, pumping upto 5 floors and curing etc complete for finished item of work | 1 Cum | 2300
741 | For each additional floor for M20 grade concrete | 1 Cum | 30
742 | a) Supply and placing of the ready (design ) standard mix concrete M 25 grade from standard suppliers approved by the Department including cost and conveyance, pumping upto 5 floors and curing etc complete for finished item of work | 1 Cum | 2360
743 | For each additional floor for M25 grade concrete | 1 Cum | 30
(F) labour charges for wrought and put up incluidng fixing in position frames, shutters for doors, windows, ventilators etc.
744 | Fully panelled doors external or internal | 1 Sqm | 330
745 | Glazed and panelled doors | 1 Sqm | 318
746 | Framed and planked doors | 1 Sqm | 311
747 | Ledged, braced and planked doors | 1 Sqm | 267
748 | Windows glazed | 1 Sqm | 318
749 | Windows panelled | 1 Sqm | 419
750 | Windows ledged, braced and planked | 1 Sqm | 267
751 | Windows framed and planked | 1 Sqm | 254
752 | Ventilators glazed, fixed with double frame with wire netting. | 1 Sqm | 318
753 | Swing ventilators glazed | 1 Sqm | 343
754 | Weldmesh doors and windows | 1 Sqm | 267
755 | G.I or .AC sheet door & windows | 1 Sqm | 134
(G) MISCELLANEOUS ITEMS
756 | Preparing gabions with jungle wood | Each | 2.4
757 | Planting plants | Each | 1.8
758 | Pruning plants | Each | 1.8
759 | Maintaining avenues including fencing, weeding, milching, watering etc per plant. | Each | 4.2
760 | - do - When scattered in hot weather with extra conveyance from March to June | Each | 4.8
761 | Hoisting or lowering of slab | 1 cum | 67
762 | Dressing faces of granite stone (double line dressing) | 1 Sqm | 111
763 | Dressing faces of other than granite stone(double line dressing) | 1 Sqm | 69
Expansion Joint fillers
SUPPLY OF HIGH PERFORMANCE EXPANSION
JOINT FILLER BOARD. CONFIRMING TO M.O.S.T
(FOR ROADS&BUILDINGS)
"SILFLEX" CAPCELL HD-100
764 | A. 18MM THICK | 1 Sqm | 500
765 | B. 20MM THICK | 1 Sqm | 560
766 | C. 25MM THICK | 1 Sqm | 700
SUPPLY OF EXPANSION JOINT FILLER BOARD
FOR BUILDINGS, COLUMNS, BEAMS AND
SLABS
"ARMOUR BOARD" SILFILL
767 | A. 20MM THICK | 1 Sqm | 200
768 | B. 25MM THICK | 1 Sqm | 250
769 | C. 50MM THICK | 1 Sqm | 500
SUPPLY OF BACK UP TO COLD APPLIED
SEALANT IN CONSTRUCTION AND
LONGITUDINAL JOINT
"BACK UP ROAD" SILSEAL
770 | A. 10MM OD | 1 RM | 8
771 | B. 12MM OD | 1 RM | 9.6
772 | C. 15MM OD | 1 RM | 12
773 | D. 20MM OD | 1 RM | 16
774 | E. 25MM OD | 1 RM | 20
(H) SCAFFOLDING
775 | For superstructure in first floor over the rate of foundation and basement | 1 cum | 29
776 | For second floor over the rate of first floor superstructure | 1 cum | 35
777 | For third floor over the rate of IInd floor superstructure | 1 cum | 47
778 | For each additional floor over third floor | 1 cum | 21
Scaffolding for plastering of walls and ceiling or painting of roof timber or walls, where height is more than 3 M
779 | 1st and 2nd floor | 10 Sqm | 32
780 | 2nd and 3rd floor | 10 Sqm | 64
781 | 3rd and 4th floor | 10 Sqm | 96
782 | Extra for every additional floor over 4th floor | 10 Sqm | 23
Centering charges
783 | centering charges for all RCC roof slabs upto 150 mm depth and upto 3.66 M of floor height | 10 Sqm | 730
784 | Centering charges for all RCC roof slabs upto 150 mm depth & more than 3.66 M of floor height. Add for each additional metre height or part there of over the rate as in item above. | 10 Sqm | 200
785 | centering charges for all RCC roof slabs above 150 mm upto 300 mm depth and upto 3.66 M of floor height | 10 Sqm | 1084
786 | Centering charges for all RCC roof slabs above 150 mm and upto 300depth & more than 3.66 M of floor height. Add for each additional metre height or part there of over the rate as in item above. | 10 Sqm | 296
Centering charges for all R.C.C roof slabs projection upto 1.2 M only, at higher level without having such slab projections at lower levels.
787 | At 2nd floor level | 10 Sqm | 669
788 | At 3rd floor level | 10 Sqm | 699
789 | At 4th floor level | 10 Sqm | 730
790 | Centering charges for all RCC waffle slabs incluidng ribs etc,(plain area) upto 3.66 M of floor height | 10 Sqm | 1114
791 | Centering charges for all RCC waffle slabs including ribs etc. (plain area) & more than 3.66 M of floor height. Add for each additional metre height or part there of over the rate as in item above. | 10 Sqm | 304
792 | Centering charges for all R.C.C helical stair cases. | 10 Sqm | 1189
793 | Centering charges for RCM facia/ railing 50 to 75 mm thickness | 1 Sqm | 42
794 | Centering charges for sunshade 0.6 M width | 1 RM | 31.5
795 | Centering charges for sunshade 0.8 M width | 1 RM | 39
796 | Centering charges for sunshade 1.00 M width | 1 RM | 44
797 | Centering charges for T beams upto 3.66 M of floor height | 1 cum | 813
798 | Centering charges for T beams more than 3.66 M of floor height . Add for each additional metre height or part there of over the rate as in item above | 1 cum | 222
799 | Centering charges for Rectangular beam, L beams, upto 3.66 M of floor height | 1 cum | 689
800 | Centering charges for Rectangular beams & L beams more than 3.66 M of floor height . Add for each additional metre height or part there of over the rate as in item above | 1 cum | 188
801 | Centering charges for columns, pedastals | 1 cum | 689
802 | Centering charges for Templates, bed blocks and footings | 1 cum | 434
803 | Centering charges for arches upto 1.5 M span | 1 cum | 938
804 | Centering charges for arches above 1.5 M span | 1 cum | 1001
805 | Centering charges for lintels and plinth beams ( less than 3.0 span) | 1 cum | 561
806 | Centering charges for slabs above 300 mm depth | 1 cum | 651
807 | Labour charges for 50 to 75 mm thick RCM Paradah walls | 1 sqm | 60
808 | Labour charges for fixing A.C sheets including cost of J.Bots bitumen washers etc. with or without ridges. | 10 sqm | 344
(j) lift charges
For RCC items
809 | Between 1 st and 2 nd floor | 1 cum | 37
810 | Between 2nd and 3rd floor | 1 cum | 91
811 | Between 3rd and 4th floor | 1 cum | 170
812 | Between 4th and 5th floor | 1 cum | 267
813 | Between 5th and 6 th floor | 1 cum | 291
814 | between 6ht and 7 th floor | 1 cum | 364
815 | Between 7th and 8 th floor | 1 cum | 424
816 | Between 8th and 9 th floor | 1 cum | 473
817 | Between 9th and 10th floor | 1 cum | 546
LIFT CHARGES FOR BRICK MASONRY & STONE MASONRY
818 | Between 1 st and 2 nd floor | 1 cum | 30.5
819 | Between 2nd and 3rd floor | 1 cum | 43
820 | Between 3rd and 4th floor | 1 cum | 55
821 | Add extra for every additional floor above 4th floor | 1 cum | 18
Lift charges for impervious coat upto 26 mm thick plastering with impermo compound or shahabad stone flooring:
822 | Between 1 st and 2nd floor | 10 Sqm | 15
823 | Between 2nd and 3rd floor | 10 Sqm | 27.3
824 | Between 3rd and 4th floor | 10 Sqm | 40
825 | Add extra for every additional floor above 4th floor | 10 Sqm | 14
Lift charges for plastering
826 | Between 1 st and 2 nd floor | 10 Sqm | 7.4
827 | Between 2nd and 3rd floor | 10 Sqm | 13
828 | Between 3rd and 4th floor | 10 Sqm | 19
829 | Add extra for every additional floor above 4th floor | 10 Sqm | 8.4